## Explanatory sheet
Explanatory note As part of the analysis being carried out by the Smart Metering Programme's rollout team, we are looking at issues which could have an impact on the efficiency of the smart meter rollout programme. One set of issues are existing operational issues. These are issues which arise during business-as-usual meter replacement work. Whilst these are not smart metering issues, they could have an impact on the efficiency of rollout because the smart meter rollout will accelerate the extent to which these operational issues arise. To assist our analysis we are gathering data on the prevalence of existing operational issues; and the cost of resolving these. We have asked meter asset managers, gas transporters and suppliers to populate the table on the next tab of this document. The aim is to provide information which should give us a clearer picture of the impact that these issues will have on the smart meter rollout. Information on ‘number of issues’ can be collated and provided through trade associations. Cost information should be provided directly to the programme. To allow us gain an understanding of the scale of the issues, please provide information on number of issues encountered per 1,000 homes as well as the size of the sample used. For example, if over the course of the last 90,000 meter installations carried out by your company you discovered 120 instances of issue G8, enter 1.33 in cell K9 and 90000 in cell L9 and the cost of resolving the issue in M9. Information should be send to tim.bailey@ofgem.gov.uk by 29 November. If you have any questions about the spreadsheet, please contact Tim Bailey on 020 7901 7132 or tim.bailey@ofgem.gov.uk.

## Data sheet
Identifier (tbc) | Assets affected | Issue | Aborted install? | Issue flagged to responsible party | Emergency? | Party responsible for cost of work | Responsibility clear/Unclear | If unclear responsibility - who will deal with issue | What happens now? | Prevalence (per 1000) | Sample size | options for mitigation | Cost of resolution per incident (£) | Impact of taking no action (would BAU have impact on consumer experience or efficiency of rollout?) | Applicable current Regulation
G1 | Consumer gas equipment | Issues with consumer equipment identified during installation - e.g. Reigniting of pilot lights. | Possibly | yes - to consumer |  | Customer; Landlord | Clear
G2 | Consumer gas equipment | Customer report of headaches - suspected Carbon Monoxide condition | No | yes |  | Customer; Landlord | Clear
G3 | Consumer gas equipment | Ventilation inadequate or blocked | No | yes |  | Customer; Landlord | Clear
G4 | Consumer gas equipment | Gas Leakage – visible signs and or smell of gas | Possibly | yes |  | Customer; Landlord | Clear
G5 | Consumer gas equipment | Old suspected gas pipe uncapped | Possibly | yes |  | Customer; Landlord | Clear
G6 | Customer pipework | Medium pressure gas service internal to domestic premises | Yes | yes - consumer & Gas Transporter |  | Customer; Gas Transporter | Clear
G7 | Earthing assets | Gas installation elevated above earth potential - suspected in service pipe following initial check with volt stick | Yes | yes |  | Customer; Landlord | Clear
G8 | Earthing assets | No visible evidence of equipotential bonding | No | yes |  | Customer; Landlord | Clear
G9 | Earthing issue | Insulation joint not fitted/fitted in wrong position | No | yes |  | Gas Transporter | Unclear | Design documents clear, but practice differs - MAMCOP | [6 empty] | IGEM
G10 | ECV | ECV falls to open position – handle fitted incorrectly | No | yes |  | Gas Transporter | Clear
G11 | ECV | Faulty/failed ECV let by test | Possibly | yes |  | Gas Transporter | Clear
G12 | ECV | Inaccessible ECV | Yes | yes |  | Customer; Gas Transporter | Clear
G13 | ECV | Missing ECV handle (Note – handles will be provided) | No | No |  | Gas Transporter | Clear | MAMCOP - Protocol for provision of ECV handles to MAM agreed last year, with exception of one GT | Installer will install meter but may leave gas off if no handle provided
G14 | Gas network equipment | Gas Leakage – visible signs and or smell of gas | Probably | yes |  | Gas Transporter | Clear
G15 | Gas network equipment | Old suspected gas pipe uncapped | Possibly | yes |  | Gas Transporter | Clear
G16 | Gas network equipment | Gas service pipe may be of insufficient size due to customer change in load | No | yes - if they notice |  | Gas Transporter | Clear
G17 | Gas network equipment | Visible signs of corrosion to service | No | yes |  | Gas Transporter | Clear
G18 | Gas network equipment | Low pressure PE service - built over due to extension works | No | yes |  | Gas Transporter | Unclear | MAMCOP
G19 | Gas network equipment | Service pipe unsupported due to demolition | Probably | yes |  | Customer; Landlord; Gas Transporter | Clear
G20 | Gas network equipment | Legacy metering arrangments | Possibly | yes |  | Gas Transporter; MAM | Unclear | MAMCOP
G21 | IGT issue | Data flows to meter installers (e.g. on supplier id.) particularly issue with IGT data flows) | No | no |  |  | Unclear
G22 | Meter (location) | Meter cannot be changed as access is blocked | Yes | yes |  | Customer; Landlord | Clear | MAMCOP & MOCOPA issues on how to ensure customer makes the metrer accessible
G23 | Meter (location) | Meter banks (communal positions) with only one escape route/ not adequately ventilated | No | yes |  | Landlord | Clear | [7 empty] | Section 15 - gas measurement procedures
G24 | Meter (location) | The meter installation proximity is unacceptable in relation to the electricity meter, cut out, other electrical equipment; meter in hazardous area, no emergency exit | Probably | yes |  | Customer; Gas Transporter; Meter Operator | Clear | [7 empty] | DSEAR
G25 | Meter (location) | Customer does not have direct access to meter (may be in communal cupboard or in a shop premise) | Probably | yes |  | Customer; Landlord; Supplier; Gas Transporter | Unclear | MAMCoP & MOCOPA© how to make meter accessible for change and subsequent access
G26 | Meter (location) | Meter not easily accessible - meter reader/ customer has to use step ladder to reach | Possibly | yes |  | Customer; Landlord; Supplier; Gas Transporter | Unclear | MAMCoP & MOCOPA© how to make meter accessible for change and subsequent access | [6 empty] | Proposal MAMCOP new meter position must be between 0 and 1.8m above ground level
G27 | Meter (location) | Prime and sub-deduct network | No | yes |  | Customer; Gas Transporter | Unclear | MAMCOP - currently numbers are small
G28 | Meter housing | Asbestos components including damaged boards associated with the cut out/service and or meter | Yes | Yes |  | Gas Transporter if board associated with service only; otherwise Customer; Landlord | Unclear | MAMCOP/MOCOPA
G29 | Meter housing | Damage to meter box | Possibly | yes |  | Customer; Landlord | Unclear | MAMCOP/MOCOPA | [6 empty] | BS 8499:2009 Specification for domestic gas meter boxes and meter bracket
G30 | Meter housing | Service in cavity of wall - (permali meter boxes) | Possibly | yes |  | Gas Transporter | Unclear | MAMCOP | [6 empty] | BS 8499:2009 Specification for domestic gas meter boxes and meter bracket
G31 | Meter housing | Semi-concealed meter boxes | If no technical solution found | if no technical solution found |  | Customer; Gas Transporter; Supplier | Unclear | MAMCOP | [6 empty] | BS 8499:2009 Specification for domestic gas meter boxes and meter bracket
G32 | Meter housing | Incorrectly sized meter box | If no technical solution found | if no technical solution found |  | Customer; Gas Transporter; Supplier | Unclear | MAMCOP/MOCOPA
G33 | Meter housing | Excessively corroded meter installation/service location | Possibly | If cannot be rectified by installer |  | Customer; Landlord; Gas Transporter | Clear
G34 | Meter housing | Exposure to physical damage - to meter or other assets | Possibly | yes |  | Customer; Landlord | Clear |  | this may be duplication
G35 | Meter; ECV | Installations where additional ECV is required but not present | Possibly | yes |  | Customer; Landlord; Gas Transporter | Clear | [7 empty] | BS6891 8.17.1 An additional emergency control valve (AECV) shall be fitted: a) to the installation pipe where it enters the building if the meter is sited 6 m or more away from the building; or b) inside individual flats served by a large single or multiple meter installation located in a remote or communal area (see Figure 7).
G36 | MPRN | MPRN doesn't match address (e.g. crossed meters, i.e. flat environments) | Possibly | yes |  | Customer; Supplier; Gas Transporter | Clear
G37 | Outlet pipe | Lead outlet pipe -shhort length. Whole installation dealt with as customer installation issues | No | No |  | MO will carry out work if short piece; otherwise customer | Unclear | MAMCOP | Would be replaced at no cost to the customer but the replacement was then firmly the property and responsibility of the customer. However, if the lead was not actually an issue, it would be left and a supporting bracket fitted.
G38 | PE pipe upstream of ECV | Visible or exposed PE upstream of ECV | Possibly | yes |  | Customer; Landord; Gas Transporter | Clear