## ED01
Licence number and name: |  | RIIO-2 Environmental Reporting Guidance
DNO: |  | Northern Powergrid
No. | Date raised | Comment from | Reference (Part X, Para Y) | Comment | Suggested alternative drafting (if necessary) | Due Date | Response | Issue closed?
1 | 2023-03-16 | NPg | Paragraph 3.18 | Refers to SF6 in the losses section and duplicates paragraph 3.15 | Delete paragraph 3.18
2 | 2023-03-16 | NPg | Paragraph 3.28 | The references to Red, Amber and Green in paragraph 3.28 are not particularly accurate and should be clarified. | “For the purposes of the AER, PMTs are to be reported in the following three categories: • Red – Cohorts with (i) a known manufacturer; (ii) a year of manufacture that is pre-1987; and (iii) sufficient test data available to show that the incidence of PCB contamination is high enough to statistically classify those cohorts as PCB contaminated; • Amber – Cohorts with a known manufacturer and a year of manufacture that is pre-1987 but with insufficient test data available to statistically classify those cohorts as either PCB contaminated or not PCB contaminated; and • Green – Cohorts with (i) a known manufacturer; (ii) a year of manufacture that is pre-1987; and (iii) sufficient test data to show that the incidence of PCB contamination is low enough to statistically classify cohorts as not PCB contaminated.”
3 | 2023-03-16 | NPg | Paragraph 3.28 | Paragraph would benefit from a clarificatory statement regarding the Environment Agency’s Regulatory Position Statement | The EA has published a Regulatory Position Statement statutory instrument enabling PMT assets to be removed from the EA PCB register by this statistical sampling approach.
4 | 2023-03-16 | NPg | Paragraph 3.28 and KPI Table | Paragraph 3.28 states that only Pole Mounted Transformers (“PMTs”) are dealt with by a statistical approach. | As Ground Mounted Transformers and Other are not dealt with by a statistical approach, they should not have the same reporting layout in the AER KPI Table as PMTs and should be, for example, the number contaminated and the number remediated
5 | 2023-03-16 | NPg | Paragraph 4.30 | A definition of “network development project” should be included so that the reporting requirement is clear and there is a materiality threshold | "means a project at over 33kV that has an impact on the local environment and on which the licensee incurs capital expenditure in excess of £1 million”
6 | 2023-03-16 | NPg | Paragraph 4.31 | It is not clear as to what constitutes a “biodiversity unit” so it should be defiened | A “biodiversity unit” could be the number of biodiversity projects, the number of sites completed or the actual biodiversity net gain percentage
7 | 2023-03-16 | NPg | General | The terms “licensee(s)” and “DNO(s)” are used throughout the Guidance | As “licensee” is used predominantly, “licensee” should be used rather than “DNO” for consistency
8 | 2023-03-16 | NPg | General | Consistency | “KPI template” should be changed to “KPI Table” throughout
9 | 2023-03-16 | NPg | General | Where terms are defined on their first use in the Guidance, the defined term should then be used throughout
10 | 2023-03-16 | NPg | General | We have tracked various comments of a presentational and grammatical nature and for clarity