## Sheet1
Severe Weather GSOPs RIGs Consultation Issues Log
Issue No | Reference/ Question | Comment | Proposed alternative | Comment Raised by | Response
1 | qos Interruptions Stage Data reporting pack: Unplanned tab | Columns AE & AF of the ‘Unplanned’ tab: Once the data is populated, it is possible to filter and sort the rows to validate the results to check for possible errors. | To simplify this checking process, we recommend that the formulai are amended: Column AE: =IF(B3="","",IF(OR(O3='Codes & background calcs'!$J$2,O3='Codes & background calcs'!$J$3,O3='Codes & background calcs'!$J$4),0,AC3*100/Interruptions!$D$6)) and Column AF: =IF(B3="","",IF(OR(O3='Codes & background calcs'!$J$2,O3='Codes & background calcs'!$J$3,O3='Codes & background calcs'!$J$4),0.1*AD3/Interruptions!$D$6,AD3/Interruptions!$D$6)) | ENWL | amended accordantly
2 | guaranteed_standards of performance reporting pack: Main tab | Duplication of entries within Payment Summary row 520. The cell highlighted (H512) contains a sum of various cells, including (H314, H315, H319, H320, H324, H325, H361, H365, H369). On that basis, these are counted twice within the total value. Along with Incorrect inclusion of ex-gratia and goodwill payments | H520=(H17+H256+H414+H418+H457+H482+H498+H512+H516)-(H39+H47+H55+H317+H322+H327+H363+H367+H371+H89+H91+H100+H102+H111+H113+H150+H152+H161+H163+H172+H174+H209+H211+H219+H221+H229+H231) I520=(I17+I256+I414+I418+I457+I482+I498+I512+I516)-(I39+I47+I55+I317+I322+I327+I363+I367+I371+I89+I91+I100+I102+I111+I113+I150+I152+I161+I163+I172+I174) The formula for column I should then be replicated through columns K to N to apply the correction to all years of RIIO-ED2. | NGED | amended accordantly
3 | Paragraph 3.13 of Annex F | It would be more appropriate to use EGS2 as the example in paragraph 3.13, such that the following changes should be made |  | NPG | amended accordantly
4 | Paragraph 3.22 of Annex F | Paragraph 3.22 would benefit from being clarified |  | NPG | Amended draft to provided more clarity.The intent of the paragraph is to explain if a customer is due payment for mulitple interruptions that occurred during 2023/24 reporting period. If any of the interruptions occured after, or on,1 sept 2023 the customer should be compensated in accordance with the amounts in the amended regulations
5 | QoS Interruptions Stage Data Reporting Pack: Interruptions tab | When the licensee is selected in cell D2, cell E13 shows the CI and CML thresholds for Other. Exceptional Events to 14 decimal places. We suggest it would look better from a presentational perspective, if the thresholds were shown to two decimal places. Cell E13 links to the ‘Codes & background calcs’ sheet so the relevant cells in this sheet, which are password protected, need to be to two decimal places. |  | NPG | amended accordantly
6 | qoS Interruptions Stage Data Reporting Pack: Interruptions tab | Cells D106 to D110 seem to have formula errors because the count of customers in each cell does not appear to differentiate between normal weather, category 1 severe weather and category 2 severe weather. |  | NPG | amended accordantly
7 | qoS Interruptions Stage Data Reporting Pack: Interruptions tab | Cell E106 should count customers off supply in normal weather conditions for periods of 12 hours in addition to the initial period of 12 hours throughout the year. However, cell E106 appears to be adding up column Z (“Subseq 6hr customers from 1/09/23”) and column U(“Custs off 12 hours and over in normal weather”) from the Unplanned sheet |  | NPG | amended accordantly
8 | qoS Interruptions Stage Data Reporting Pack: Interruptions tab | Cells E109 and E110 should count customers off supply for periods of 12 hours in addition to the initial period of 24 hours or 48 hours, as appropriate, up to and including 31 August 2023. However, those cells appear to be adding up column Z (“Subseq 6hr customers from 1/09/23”) and column U (“Custs off 12 hours and over in normal weather”) from the Unplanned sheet. |  | NPG | amended accordantly
9 | qoS Interruptions Stage Data Reporting Pack: Interruptions tab | Additional cells should be inserted in column F to count customers off supply for periods of 6 hours in addition to the initial period of 24 hours or 48 hours, as appropriate for the relevant severe weather event, from 1 September 2023. |  | NPG | amended accordantly
11 | QoS Interruptions Stage Data Reporting Pack: Unplanned Sheet | Column U only counts customers where column R is blank, which means that it does not count Other Exceptional Events. Column U should, therefore, count customers where column R starts with ‘9’. |  | NPG | amended accordantly
12 | QoS Interruptions Stage Data Reporting Pack: Unplanned Sheet | Current columns Y and Z are bringing back ‘False’ results in the formula, if the date does not fall within the stipulated period. We suggest that this should say zero, not ‘False’. |  | NPG | amended accordantly
13 | QoS Interruptions Stage Data Reporting Pack: Unplanned Sheet | Current column Z (“Subseq 6hr customers from 1/09/23”) does not appear to be calculating correctly. When testing current column Z by inputting customers off supply over 30 hours (1,800 mins) into current column AA (Stage Duration), current column Z shows zero i.e. it does not show the count of customers off supply for additional 6‐hour periods in category 1 and category 2 severe weather events. | There should be a new column Y named “Subseq 12hr customers – normal weather”, which counts customers off supply in normal weather conditions for periods of 12 hours in addition to the initial period of 12 hours throughout the year and feeds into cell E106 on the Interruptions sheet. Other Exceptional Events in normal weather conditions should also be included in this count. Current column Y would become column Z and so on. New column Z (current column Y) should be re‐named as “Subseq 12hr customers (Cat 1 SWEE & Cat 2 SWEE) up to and inc. 31/08/23”. New column AA (current column Z) should be re‐named as “Subseq 6hr customers (Cat 1 SWEE & Cat 2 SWEE) from 1/09/23”. | NPG | amended accordantly
14 | guaranteed_standards_of_performance_reporting_pack | In the ED2 Prescribed Periods & Sums tab Regulation 5(2)(b) and Regulation 6(2)(b) should have prescribed period of 12 hours noted in the spreadsheet. |  | SPEN | amended accordantly
15 | guaranteed_standards_of_performance_reporting_pack | row 394 columns H, I, K, L, M, and N Changed to pick up correct exemptions, | For example column H ' =H393-'EGS4 exemptions'!G23' | SSEN | amended accordantly
16 | guaranteed_standards_of_performance_reporting_pack | Row 395 columns H, I, K, L, M, and Nchanged to pick up correct exemptions | For example column H='EGS4 exemptions'!G34 | SSEN | amended accordantly
17 | guaranteed_standards_of_performance_reporting_pack | Row 520 , columns H, I, K, L, M, and N, changed to remove all ex-gratia and good will payments | For example column H =((H17+H59+H60+H61+H62+H63+H64+H117+H119+H120+H122+H123+H125+H178+H180+H181+H183+H184+H186+H235+H236+H237+H238+H239+H240+H256+H314+H315+H319+H320+H324+H325+H361+H365+H369+H414+H418+H457+H482+H498)) | SSEN | addressed in Issue 2
18 | guaranteed_standards_of_performance_reporting_pack | Row 23 and 71 column D Cells do not contain correct Data Number of premises affected by an unplanned interruption excluding Category 1/2/3 severe weather conditions - from the IIS template (cell D106 on the 'Interruptions' tab) | row 23 Number of premises affected by an unplanned interruption excluding Category 1/2/3 severe weather conditions - from the IIS template (cell E35 on the 'Interruptions' tab - D27 on the EE Impact sheet) and row 71 Number of premises affected by an unplanned interruption excluding Category 2/3 severe weather conditions and normal weather conditions - from the IIS template ( cell D54 on the 'EE Impact' tab) | SSEN | amended accordantly
19 | guaranteed_standards_of_performance_reporting_pack | row 517, columns H, I, K, L, M, and N, ' To reflect 0 if H516 is greater than H515' | eg 'H=IF(H515-H516<0,0,H515-H516)' | SSEN | amended accordantly
20 | guaranteed_standards_of_performance_reporting_pack | row 387, columns H, I, K, L, M, and N, Changed to pick up correct exemptions | EG 'H =H386-'EGS4 exemptions'!G51' | SSEN | amended accordantly
21 | Guaranteed Standards of Performance reporting pack | Row 516 is showing the incorrect price cap. |  | SSEN | amended accordantly
22 | QOS Interruptions Stage Data reporting pack | On the ‘Unplanned’ tab it still shows Category 3. On the ‘EE’ tab this has been greyed out. We suggest it should either be greyed out in both tabs, or removed from both tabs. |  | SSEN | amended accordantly
23 | Paragraph 3.28 of Annex F | "3.28 Where DNOs identify that a PSR Customer has been affected by a fault and is due a payment in respect of the DNO’s failure to meet either EGS2, EGS2B, EGS2C, EGS11A ,and EGS11B or EGS11C DNOs should automatically make the relevant payment to the PSR Customer and must not await the receipt of a claim. " the word 'or' has been replaced with the word 'and' | 3.28 Where DNOs identify that a PSR Customer has been affected by a fault and is due a payment in respect of the DNO’s failure to meet either EGS2, EGS2B, EGS2C, EGS11A or EGS11B DNOs should automatically make the relevant payment to the PSR Customer and must not await the receipt of a claim. | SPEN | amended accordantly - 'or' was replaced accidentally
24 | Paragraph 3.22 of Annex F | It is the fourth interruption that crystallises the failure. In the scenario where four interruptions occurred before 1 September 2023, the failure payment due would be the amount payable under the previous regulations. If there was then a fifth interruption on or after 1 September 2023, the use of "any" could be interpreted to mean the amount payable would be the amount due under the amended regulations but the failure actually occurred before 1 September 2023 i.e. under the previous regulations | In circumstances where (i) a customer has experienced more than three interruptions in regulatory year 2023/24, such that the customer would be due a payment under EGS2A, if any of the fourth interruptions occurred on or after 1 September 2023 then the amount payable value will be based on the values in the 2023 amendment to the Regulations | NPG | amended accordantly