## Cover
We have published this workbook in conjuction with the RIIO-2 Re-opener Applications 2024 Final Determinations. It contains the tables used in the core document and annexes.
Title | Information
Publisher | Ofgem - Small and Medium Sized Projects
Version | 0.1
Publication date | 2024-12-09
Filename | RIIO-2 Re-opener Applications 2024 Final Determinations - Data File
Price Base For Costs | 2018/19
Cover table Licencees
Sector Group | Network Name | Sector Group Short | Sector | Network Short Name
National Grid Electricity Transmission | National Grid Electricity Transmission | ET_NGrid | ET | NGET
Scottish Hydro Electric Transmission | Scottish Hydro Electric Transmission | ET_SSE | ET | SHET
SP Transmission | SP Transmission | ET_SPEN | ET | SPT
National Gas Transmission | National Gas Transmission | GT_NGas | GT | NGT
Electricity North West | Electricity North West | ED_ENWL | ED | ENWL
Northern Powergrid | Northern Powergrid - Northern | ED_NPG | ED | NPGN
Northern Powergrid | Northern Powergrid - Yorkshire | ED_NPG | ED | NPGY
National Grid Electricity Distribution | National Grid Electricity Distribution - West Midlands | ED_NGrid | ED | WMID
National Grid Electricity Distribution | National Grid Electricity Distribution - East Midlands | ED_NGrid | ED | EMID
National Grid Electricity Distribution | National Grid Electricity Distribution - South Wales | ED_NGrid | ED | SWALES
National Grid Electricity Distribution | National Grid Electricity Distribution - South West | ED_NGrid | ED | SWEST
SP Energy Networks | SP Energy Networks - Distribution | ED_SPEN | ED | SPD
SP Energy Networks | SP Energy Networks - Manweb | ED_SPEN | ED | SPMW
Scottish and Southern Energy | SSEN Distribution - Hydro | ED_SSE | ED | SSEH
Scottish and Southern Energy | SSEN Distribution - Southern | ED_SSE | ED | SSES
UK Power Networks | UK Power Networks - East | ED_UKPN | ED | EPN
UK Power Networks | UK Power Networks - London | ED_UKPN | ED | LPN
UK Power Networks | UK Power Networks - South East | ED_UKPN | ED | SPN
Cadent | Cadent - East of England | GD_Cad | GD | EoE
Cadent | Cadent - London | GD_Cad | GD | Lon
Cadent | Cadent - North West | GD_Cad | GD | NW
Cadent | Cadent - West Midlands | GD_Cad | GD | WM
Northern Gas Networks | Northern Gas Networks | GD_NGN | GD | NGN
Scotia Gas Networks | Scotia Gas Networks - Scotland | GD_SGN | GD | Sc
Scotia Gas Networks | Scotia Gas Networks - Southern | GD_SGN | GD | So
Wales & West Utilities | Wales and West Utilities | GD_WWU | GD | WWU

## Applications
Applications subject to this consultation/decision | Mechanism | Opex Escalator/Indirect Scaler
NGET MSIP 2024 | ET Medium Sized Investment Projects (MSIP) | Yes
SPT MSIP 2024 | ET Medium Sized Investment Projects (MSIP) | Yes
SSEN-D Orkney Whole System Uncertainty Mechanism (HOWSUM) 2024 | ED Hebrides and Orkney – (SSEN only) | No
Cadent Diversions and loss of development claims policy re-opener 2023 | GD Diversions and Loss of Development Claims policy Re-opener | No
SGN Diversions and Loss of Development Claims policy Re-opener 2023 | GD Diversions and Loss of Development Claims policy Re-opener | No
WWU Diversions and Loss of Development Claims policy Re-opener 2023 | GD Diversions and Loss of Development Claims policy Re-opener | No
Cadent Multiple Occupancy Buildings Safety Re-opener 2023 | GD MOB - Safety related activities | No
Cadent New Large Load Connections Re-opener 2023 | GD New Large Load Connections Re-opener | No
WWU New Large Load Connections Re-opener 2023 | GD New Large Load Connections Re-opener | No
ENWL Storm Arwen Reopeners 2024 | ED Storm Arwen Re-opener | No
NGED Storm Arwen Reopners 2024 | ED Storm Arwen Re-opener | No
NPg Storm Arwen Reopeners 2024 | ED Storm Arwen Re-opener | No
SPEN-D Storm Arwen Reopeners 2024 | ED Storm Arwen Re-opener | No
SSEN-D Storm Arwen Reopeners 2024 | ED Storm Arwen Re-opener | No
UKPN Storm Arwen Reopeners 2024 | ED Storm Arwen Re-opener | No

## Contents
Sheet | Tab Name | Worksheet Title | Link
1 | Cover | Cover Sheet | Click to go to worksheet
2 | Applications | Applications | Click to go to worksheet
3 | Contents | Contents | Click to go to worksheet
Tables and Figures in Core Document
4 | Table1_Licensees | Table 1: Regulated network companies | Click to go to worksheet
5 | Table2_DDs_Summary | Table 2: Summary of Draft Determinations | Click to go to worksheet
6 | Table3_FDs_Summary | Table 3: Final Determinations of project allowances | Click to go to worksheet
7 | Table4_FDFinal | Table 4: Estimated total cost to energy consumers of the Final Determinations | Click to go to worksheet
8 | Table5_DecisionReview | Table 5: Decision implementation overview | Click to go to worksheet
Tables and Figures in ET Annex
9 | TableET1_ReopenerMechanisms | Table ET1: ET re-opener mechanisms subject to this decision | Click to go to worksheet
10 | TableET2_DD_FD_Summary | Table ET2: Summary of our ET Draft and Final Determinations | Click to go to worksheet
11 | TableET3_MSIP_Reopener | Table ET3: Summary of Medium Sized Investment Projects Re-opener Draft and Final Determinations (£m, 18/19 prices) | Click to go to worksheet
12 | TableET4_NGET_DDs_FDs | Table ET4: Summary of NGET MSIP Re-opener Draft and Final Determinations (£m 18/19 prices) | Click to go to worksheet
13 | TableET5_SPT_DDs_FDs | Table ET5: Summary of SPT Projects Re-opener Draft and Final Determinations (£m 18/19 prices) | Click to go to worksheet
Tables and Figures in ED Annex
14 | TableED1_ReopenerMechanisms | Table ED1: ED Re-opener mechansims subject to this decision | Click to go to worksheet
15 | TableED2_DDs_FDs_Summary | Table ED2: Summary of our ED Draft and Final Determinations | Click to go to worksheet
16 | TableED3_HebridesOrkneySummary | Table ED3: Summary of Hebrides and Orkney Re-opener Projects Draft and Final Determinations (£m 20/21 prices) | Click to go to worksheet
17 | TableED4_SARt_DDs_FDs_Summary | Table ED4: Summary of our Draft and Final Determinations | Click to go to worksheet
18 | TableED5_CAIAllowances | Table ED5: Summary of the CAI allowances for SARt | Click to go to worksheet
19 | TableED6_CrossBoundary | Table ED6: Summary of the Cross-boundary interconnector final allowances for SARt | Click to go to worksheet
20 | TableED7_Vegetation | Table ED7: Summary of the Vegetation management final allowances for SARt | Click to go to worksheet
21 | TableED8_TemporaryPower | Table ED8: Summary of the Temporary Power Sources final allowances for SARt | Click to go to worksheet
22 | TableED9_CustomerCare | Table ED9: Summary of the Customer Care and Welfare final allowances for SARt | Click to go to worksheet
23 | TableED10_Communication | Table ED10: Summary of the Customer Communication final allowances for SARt | Click to go to worksheet
24 | TableED11_ENWLSummary | Table ED11: Summary of ENWL final allowances for SARt | Click to go to worksheet
25 | TableED12_SSENSummary | Table ED12: Summary of SSEN final allowances for SARt | Click to go to worksheet
26 | TableED13_NPgSummary | Table ED13: Summary of NPg final allowances for SARt | Click to go to worksheet
27 | TableED14_SPENSummary | Table ED14: Summary of SPEN final allowances for SARt | Click to go to worksheet
28 | TableED15_NGEDSummary | Table ED15: Summary of NGED final allowances for SARt | Click to go to worksheet
29 | TableED16_UKPNSummary | Table ED16: Summary of UKPN final allowances for SARt | Click to go to worksheet
30 | TableED17_ENWL_SARt | Table ED17: Appendix - ENWL SARt summary | Click to go to worksheet
31 | TableED18_SSEN_SARt | Table ED18: Appendix - SSEN SARt summary | Click to go to worksheet
32 | TableED19_NPg_SARt | Table ED19: Appendix - NPg SARt summary | Click to go to worksheet
33 | TableED20_SPEN_SARt | Table ED20: Appendix - SPEN SARt summary | Click to go to worksheet
34 | TableED21_NGED_SARt | Table ED21: Appendix - NGED SARt summary | Click to go to worksheet
35 | TableED22_UKPN_SARt | Table ED22: Appendix - UKPN SARt summary | Click to go to worksheet
Tables and Figures in GD Annex
36 | TableGD1_GD_Reopeners | Table ED1: GD re-opener mechanisms subject to this decision | Click to go to worksheet
37 | TableGD2_DDs_FDs_Summary | Table GD2: Summary of our GD Draft and Final Determinations | Click to go to worksheet
38 | TableGD3_Summary_Diversions | Table GD3: Summary of our Diversions and Loss of Development Claims Policy Re-opener Draft and Final Determinations | Click to go to worksheet
39 | TableGD4_Cadent_Diversions | Table GD4: Summary of our Draft and Final Determinations for Cadent’s Diversions and Loss of Development Claims Policy Re-opener (£m, 18/19 prices) | Click to go to worksheet
40 | TableGD5_SGN_Diversions | Table GD5: Summary of our Draft and Final Determinations for SGN’s Diversions and Loss of Development Claims Policy Re-opener (£m, 18/19 prices) | Click to go to worksheet
41 | TableGD6_WWU_Diversions | Table GD6: Summary of our Draft and Final Determinations for WWU’s Diversions and Loss of Development Claims Policy Re-opener (£m, 18/19 prices) | Click to go to worksheet
42 | TableGD7_Summary_MOBs_Reopener | Table GD7: Summary of our Multi Occupancy Buildings (MOBs) Safety Re-opener Draft and Final Determinations | Click to go to worksheet
43 | TableGD8_SummaryNewLargeLoads | Table GD8: Summary of our New Large Load Connections Re-opener Draft and Final Determinations | Click to go to worksheet
44 | TableGD9_Cadent_NewLargeLoads | Table GD9: Summary of our Draft and Final Determinations for Cadent’s New Large Load Connections Re-opener (£m, 18/19 prices) | Click to go to worksheet
45 | TableGD10_WWU_NewLargeLoads | Table GD10: Summary of our Draft and Final Determinations for WWU’s New Large Load Connections Re-opener (£m, 18/19 prices) | Click to go to worksheet
PCD Overview Table
46 | PCD_Overview | PCD Overview Table | Click to go to worksheet

## Core_Document>>
The following worksheets contain the tables in the Core Document

## Table1_Licensees
Table 1: Regulated network companies
Sector | Company Group | Sector Group | Network | Network Short Name
ET | National Grid | National Grid Electricity Transmission | National Grid Electricity Transmission | NGET
ET | Scottish and Southern Energy | Scottish Hydro Electric Transmission | Scottish Hydro Electric Transmission | SHET
ET | SP Energy Networks | SP Transmission | SP Transmission | SPT
GT | National Gas | National Gas Transmission | National Gas Transmission | NGGT
ED | Electricity North West | Electricity North West | Electricity North West | ENWL
ED | Northern Powergrid | Northern Powergrid | Northern Powergrid - Northern | NPGN
ED | Northern Powergrid | Northern Powergrid | Northern Powergrid - Yorkshire | NPGY
ED | National Grid | National Grid Electricity Distribution | National Grid Electricity Distribution - West Midlands | WMID
ED | National Grid | National Grid Electricity Distribution | National Grid Electricity Distribution - East Midlands | EMID
ED | National Grid | National Grid Electricity Distribution | National Grid Electricity Distribution - South Wales | SWALES
ED | National Grid | National Grid Electricity Distribution | National Grid Electricity Distribution - South West | SWEST
ED | SP Energy Networks | SP Energy Networks | SP Energy Networks - Distribution | SPD
ED | SP Energy Networks | SP Energy Networks | SP Energy Networks - Manweb | SPMW
ED | Scottish and Southern Energy | Scottish and Southern Energy | SSEN Distribution - Hydro | SSEH
ED | SSES | SSES | SSEN Distribution - Southern | SSES
ED | UK Power Networks | UK Power Networks | UK Power Networks - East | EPN
ED | UK Power Networks | UK Power Networks | UK Power Networks - London | LPN
ED | UK Power Networks | UK Power Networks | UK Power Networks - South East | SPN
GD | Cadent | Cadent | Cadent - East of England | EoE
GD | Cadent | Cadent | Cadent - London | Lon
GD | Cadent | Cadent | Cadent - North West | NW
GD | Cadent | Cadent | Cadent - West Midlands | WM
GD | Northern Gas Networks | Northern Gas Networks | Northern Gas Networks | NGN
GD | Scotia Gas Network | Scotia Gas Networks | Scotland Gas Network | Sc
GD | Scotia Gas Network | Scotia Gas Networks | Southern Gas Network | So
GD | Wales & West Utilities | Wales & West Utilities | Wales & West Utilities | WWU

## Table2_DDs_Summary
Table 2: Summary of Draft Determinations
Sector | Sector Group | Company requested - Number of Projects | Forecast costs | Ofgem’s DD- Projects Approved* | Ofgem’s DD - Projects Not Approved | Cost adjustment (£m) | Ofgem’s DD Allowances (£)
ET | National Grid Electricity Transmission | 8 | 85.24 | 8 | - | -30.06* | 55.18*
ET | Scottish Hydro Electric Transmission | - | - | - | - | - | -
ET | SP Transmission | 2 | 11.82 | 2 | - | -0.29 | 11.53
| Total | 10 | 97.06 | 10 | - | -30.35 | 66.71
GT | National Gas Transmission | - | - | - | - | - | -
| Total | - | - | - | - | - | -
ED | Electricity North West | 6 | 27.5 | 6 | - | - | 27.5
ED | Northern Powergrid | 25 | 34.79 | 14 | 11 | -14.73 | 20.06
ED | National Grid Electricity Distribution | 61 | 61.38 | 15 | 46 | -43.21 | 18.17
ED | SP Energy Networks | 26 | 75.9 | 6 | 20 | -68.24 | 7.66
ED | Scottish and Southern Energy | 11 | 56.75 | 6 | 5 | -6.22 | 50.53
ED | UK Power Networks | 28 | 56.7 | 8 | 20 | -28.2 | 28.5
| Total | 157 | 313.01 | 55 | 102 | -160.59 | 152.42
GD | Cadent | 69 | 148.33 | 55 | 14 | -85.79 | 62.55
GD | Northern Gas Networks | - | - | - | - | - | -
GD | Scotia Gas Networks | 4 | 15.41 | 3 | 1 | -3.6 | 11.81
GD | Wales & West Utilities | 26 | 53.03 | 24 | 2 | -0.43 | 52.59
| Total | 99 | 216.77 | 82 | 17 | -89.82 | 126.95
* These figures were published in the DD as -29.03 and 56.21 respectively, where we included expenditure in 2026/27, which is beyond ET2 price control period. We have corrected them to efficient cost within RIIO-ET2 period (-30.06 and 55.18 respectively) as efficient project cost incurred after March 2026 will be recovered in line with the RIIO-3 settlement process.

## Table3_FDs_Summary
Table 3: Final Determinations of project allowances
Sector | Sector Group | Company requested - Number of Projects | Forecast costs (£m) | Cost adjustment (£m) | Ofgem’s DD Allowances (£m) | Ofgem’s Adjustment from DD to FD (£m) | Ofgem’s FD allowances (£m)
ET | National Grid Electricity Transmission | 8 | 85.24 | -30.06* | 55.18* | -28.66 | 26.52
ET | Scottish Hydro Electric Transmission | - | - | - | - | - | 0
ET | SP Transmission | 2 | 11.82 | -0.29 | 11.53 | - | 11.53
| Total | 10 | 97.06 | -30.35 | 66.71 | -28.66 | 38.05
GT | National Gas Transmission | - | - | - | - | - | 0
| Total | - | - | - | - | - | -
ED | Electricity North West | 6 | 27.5 | - | 27.5 | 2.921 | 30.421
ED | Northern Powergrid | 25 | 34.79 | -14.73 | 20.06 | 9.791 | 29.851
ED | National Grid Electricity Distribution | 61 | 61.38 | -43.21 | 18.17 | 6.1692 | 24.3392
ED | SP Energy Networks | 26 | 75.9 | -68.24 | 7.66 | 14.1027 | 21.7627
ED | Scottish and Southern Energy | 11 | 56.75 | -6.22 | 50.53 | 1.5184 | 52.0484
ED | UK Power Networks | 28 | 56.7 | -28.2 | 28.5 | 8.8872 | 37.3872
| Total | 157 | 313.01 | -160.59 | 152.42 | 43.3896 | 195.8096
GD | Cadent | 69 | 148.33 | -85.79 | 62.55 | 11.31 | 73.85
GD | Northern Gas Networks | - | - | - | - | 0 | 0
GD | Scotia Gas Networks | 4 | 15.41 | -3.6 | 11.81 | 1.12 | 12.93
GD | Wales & West Utilities | 26 | 53.03 | -0.43 | 52.59 | -2.16 | 50.43
| Total | 99 | 216.77 | -89.82 | 126.95 | 10.27 | 137.21
* These figures were published in the DD as -29.03 and 56.21 respectively, where we included expenditure in 2026/27, which is beyond ET2 price control period. We have corrected them to efficient cost within RIIO-ET2 period (-30.06 and 55.18 respectively) as efficient project cost incurred after March 2026 will be recovered in line with the RIIO-3 settlement process.
Price Base Conversion
Rate: | 2018/19 to 2020/21 | 1.0383
Rate: | 2020/21 to 2018/19 | 0.96309
|  | 2018/19 prices | 2020/21 prices
| Company Forecast ET Total | 97.06 | 100.78
| Company Forecast GT Total | 0 | 0
| Company Forecast ED Total | 301.4561 | 313.01
| Company Forecast GD Total | 216.77 | 225.0781
| Company Forecast Total | 615.2861 | 638.8681
| FD Allowance ET Total | 38.05 | 39.5083
| FD Allowance GT Total | 0 | 0
| FD Allowance ED Total | 188.5818 | 195.8096
| FD Allowance GD Total | 137.21 | 142.4688
| FD Allowance Total | 363.8418 | 377.7867

## Table4_FDFinal
Table 4: Estimated total cost to energy consumers of the Final Determinations
Sector | Company | Price Base | Paid by Consumers: Reopener Allowances (£m) | Paid by Consumers: Additional Allowances (£m) | Paid by Consumers: Company Debt Repayments | Paid by Consumers: Company Shareholder Return | Total Paid by Consumers | Present Value of Total Paid by Consumers
ET | National Grid Electricity Transmission | 2018/19 | 27.56 | 4.66 | 6.3 | 12.04 | 50.57 | 30.12
ET | Scottish Hydro Electric Transmission | 2018/19 | - | - | - | - | - | -
ET | SP Transmission | 2018/19 | 11.53 | 1.54 | 2.56 | 4.89 | 20.52 | 12.14
ET | Sector Total | 2018/19 | 39.09 | 6.2 | 8.86 | 16.93 | 71.09 | 42.26
GT | National Gas Transmission | 2018/19 | - | - | - | - | - | -
GT | Sector Total | 2018/19 | - | - | - | - | - | -
ED | Electricity North West | 2020/21 | 30.42 | - | 10.74 | 12.44 | 53.6 | 29.25
ED | Northern Powergrid | 2020/21 | 29.85 | - | 10.53 | 12.2 | 52.58 | 28.68
ED | National Grid Electricity Distribution | 2020/21 | 24.34 | - | 8.56 | 9.92 | 42.82 | 23.57
ED | SP Energy Networks | 2020/21 | 21.76 | - | 7.68 | 8.9 | 38.34 | 21.61
ED | Scottish and Southern Energy | 2020/21 | 52.05 | - | 18.38 | 21.29 | 91.71 | 53.69
ED | UK Power Networks | 2020/21 | 37.39 | - | 13.2 | 15.29 | 65.87 | 36.34
ED | Sector Total | 2020/21 | 195.81 | - | 69.09 | 80.03 | 344.93 | 193.15
GD | Cadent | 2018/19 | 73.86 | - | 12.98 | 21.63 | 108.46 | 68.88
GD | Northern Gas Networks | 2018/19 | - | - | - | - | - | -
GD | Scotia Gas Network | 2018/19 | 12.93 | - | 2.35 | 3.79 | 19.07 | 12.1
GD | Wales & West Utilities | 2018/19 | 50.43 | - | 9.16 | 14.78 | 74.37 | 47.99
GD | Sector Total | 2020/21 | 137.21 | - | 24.49 | 40.2 | 201.9 | 128.97
All | All Sectors Total | 2018/19 | 356.8 | 6.2 | 97.04 | 130.91 | 590.95 | 349.28
All | All Sectors Total | 2020/21 | 370.48 | 6.44 | 100.76 | 135.93 | 613.6 | 362.67
All | All Sectors Total | 2023/24 | 444.37 | 7.73 | 120.85 | 163.04 | 735.98 | 435

## Table5_DecisionReview
Table 5: Decision implementation overview
Sector | Network company | Licence condition/ Reopener applications subject to this decision | Direction/ licence modification
ET | NGET | SpC: 3.14 Medium Sized Investment Projects Re-opener and Price Control Deliverable (MSIPREt) | Licence modification - amendment of existing licence condition
ET | SPT | SpC: 3.14 Medium Sized Investment Projects Re-opener and Price Control Deliverable (MSIPREt) | Licence modification - amendment of existing licence condition
ET | SHET | SpC: 3.14 Large onshore transmission investment Re-opener – Final needs case | N/A
ED | SSEH | SpC: 3.2 Hebrides and Orkney Re-opener (HOt) Part N | Direction
ED | ENWL | SpC: 1.2 Definitions and references to the Electricity Distributors SpC: 3.2 Uncertain Costs (Storm Arwen Re-opener) Part J | Licence modification - amendment of existing licence conditions
ED | ENWL | SpC: 3.17 Storm Arwen Re-opener and Price Control Deliverable (SARt) | Licence modification - addition of a new licence condition
ED | Northern Powergrid | SpC: 1.2 Definitions and references to the Electricity Distributors SpC: 3.2 Uncertain Costs (Storm Arwen Re-opener) Part J | Licence modification - amendment of existing licence conditions
ED | Northern Powergrid | SpC: 3.17 Storm Arwen Re-opener and Price Control Deliverable (SARt) | Licence modification - addition of a new licence condition
ED | Scottish and Southern Electricity Networks | SpC: 1.2 Definitions and references to the Electricity Distributors SpC: 3.2 Uncertain Costs (Storm Arwen Re-opener) Part J | Licence modification - amendment of existing licence conditions
ED | Scottish and Southern Electricity Networks | SpC: 3.17 Storm Arwen Re-opener and Price Control Deliverable (SARt) | Licence modification - addition of a new licence condition
ED | SP Energy Networks | SpC: 1.2 Definitions and references to the Electricity Distributors SpC: 3.2 Uncertain Costs (Storm Arwen Re-opener) Part J | Licence modification - amendment of existing licence conditions
ED | SP Energy Networks | SpC: 3.17 Storm Arwen Re-opener and Price Control Deliverable (SARt) | Licence modification - addition of a new licence condition
ED | National Grid Electricity Distribution | SpC: 1.2 Definitions and references to the Electricity Distributors SpC: 3.2 Uncertain Costs (Storm Arwen Re-opener) Part J | Licence modification - amendment of existing licence conditions
ED | National Grid Electricity Distribution | SpC: 3.17 Storm Arwen Re-opener and Price Control Deliverable (SARt) | Licence modification - addition of a new licence condition
ED | UKPN | SpC: 1.2 Definitions and references to the Electricity Distributors SpC: 3.2 Uncertain Costs (Storm Arwen Re-opener) Part J | Licence modification - amendment of existing licence conditions
ED | UKPN | SpC: 3.17 Storm Arwen Re-opener and Price Control Deliverable (SARt) | Licence modification - addition of a new licence condition
GD | Cadent | SpC: 3.20 Diversions and Loss of Development Claims Policy Re-opener (DIVt) | Direction & Licence modification - amendment of existing licence conditions
GD | Northern Gas Networks | SpC: 3.20 Diversions and Loss of Development Claims Policy Re-opener (DIVt) | Licence modification - amendment of existing licence conditions
GD | SGN (Scotland Gas Networks) | SpC: 3.20 Diversions and Loss of Development Claims Policy Re-opener (DIVt) | Direction & Licence modification - amendment of existing licence conditions
GD | WWU | SpC: 3.20 Diversions and Loss of Development Claims Policy Re-opener (DIVt) | Direction & Licence modification - amendment of existing licence conditions
GD | Cadent | SpC: 3.22 New Large Load Connections Re-opener (NLLRt) | Direction & Licence modification - amendment of existing licence conditions
GD | WWU | SpC: 3.22 New Large Load Connections Re-opener (NLLRt) | Direction & Licence modification - amendment of existing licence conditions
GD | SGN (Scotland Gas Networks) | SpC: 3.22 New Large Load Connections Re-opener (NLLRt) | Licence modification - amendment of existing licence conditions
GD | Northern Gas Networks | SpC: 3.22 New Large Load Connections Re-opener (NLLRt) | Licence modification - amendment of existing licence conditions
GD | Cadent | SpC: 3.7 Non-operational IT Capex Re-opener and Price Control Deliverable (NOITREt) | Direction
ET | NGET | SpC: 3.7 Non-operational IT Capex Re-opener and Price Control Deliverable (NOITREt) | Direction

## ET_Annex>>
The following worksheets contain the tables and figures in the ET Annex

## TableET1_ReopenerMechanisms
Table ET1: ET re-opener mechanisms subject to this decision
Reopener Mechanism | Special Condition
Medium Sized Investment Project | 3.14
Large Onshore Transmission Investment | 3.13

## TableET2_DD_FD_Summary
Table ET2: Summary of our ET Draft and Final Determinations
Network | Company requested - Number of Projects | Forecast costs (£m) | Ofgem’s DD- Projects Approved* | Ofgem’s DD - Projects Not Approved | Cost adjustment (£m) | Ofgem’s DD Allowances (£m) | Ofgem’s Adjustment from DD to FD (£m) | Ofgem’s FD allowances (£m)
NGET | 8 | 85.24 | 8 | - | -30.06* | 55.18* | -28.66 | 26.52
SPT | 2 | 11.82 | 2 | - | -0.29 | 11.53 | - | 11.53
* These figures were published in the DD as -29.03 and 56.21 respectively, where we included expenditure in 2026/27, which is beyond ET2 price control period. We have corrected them to efficient cost within RIIO-ET2 period (-30.06 and 55.18 respectively) as efficient project cost incurred after March 2026 will be recovered in line with the RIIO-3 settlement process.

## TableET3_MSIP_Reopener
Table ET3: Summary of Medium Sized Investment Projects Re-opener Draft and Final Determinations (£m, 18/19 prices)
Network | Company Requested Forecast costs | Ofgem’s DD Allowances | Ofgem's Adjustment from DD to FD | Ofgem’s FD allowances
NGET | 85.24 | 55.18* | -28.66 | 26.52
SPT | 11.82 | 11.53 | - | 11.53
* This figure was published in the DD as 56.21, where we included expenditure in 2026/27, which is beyond ET2 price control period. We have corrected it to efficient cost within RIIO-ET2 period (55.18) as efficient project cost incurred after March 2026 will be recovered in line with the RIIO-3 settlement process.

## TableET4_NGET_DDs_FDs
Table ET4: Summary of NGET MSIP Re-opener Draft and Final Determinations (£m 18/19 prices)
Company Requested Project | Company Requested Forecast costs | Ofgem’s DD Allowances | Ofgem’s Final Determination allowances
NGET MSIP Pathfinder 1 - Stalybridge (stage 2) | 4.97 | 5.1 | 5.1
NGET MSIP Pathfinder 2 - Stocksbridge (stage 2) | 5.36 | 5.64 | 5.64
NGET MSIP Pathfinder 3 - Bradford West (stage 2) | 4.86 | 4.43 | 4.74
NGET Leiston Demand Connection (Stage 2) | 6.58 | 5.08* | 5.08
NGET Elland (NPG) | 0.1 | 0.08 | 0.08
NGET Willesden 66kV SEPD | 4.81 | 4.23 | 4.23
NGET Willesden & Kensal Green Microsoft Data Centre Connection | 1.75 | 1.66 | 1.66
NGET Hylton Castle | 56.8 | 28.97 | 0
* This figure was published in the DD as 6.12, where we included expenditure in 2026/27, which is beyond ET2 price control period. We have corrected it to efficient cost within RIIO-ET2 period, ie. 5.08. Efficient project cost incurred after March 2026 will be recovered in line with the RIIO-3 settlement process.

## TableET5_SPT_DDs_FDs
Table ET5: Summary of SPT Projects Re-opener Draft and Final Determinations (£m 18/19 prices)
Company Requested Project | Company Requested Forecast costs | Ofgem’s DD Allowances | Ofgem’s Final Determination allowances
SPT Constraint Management - Modification of Anglo-Scottish Operational Tripping Scheme (OTS) | 1.03 | 1 | 1
SPT SPT-RI-237 Enoch Hill Collector Substation and Associated 132kV Circuit (stage 2) | 10.79 | 10.53 | 10.53

## ED_Annex>>
The following worksheets contain the tables and figures in the ED Annex

## TableED1_ReopenerMechanisms
Table ED1: ED Re-opener mechansims subject to this decision
Reopener Mechanism | Special Licence Condition
Hebrides and Orkney Reopener | 3.2
Storm Arwen Reopener | Part J 3.2.6

## TableED2_DDs_FDs_Summary
Table ED2: Summary of our ED Draft and Final Determinations
Sector Group | Network | Company requested - Number of Projects | Company Forecast costs (£m) | Ofgem’s DD - Projects Approved* | Ofgem’s DD - Projects Not Approved | Ofgem’s DD - Cost adjustment (£m) | Ofgem’s DD -Allowance (£m) | Ofgem’s Adjustment from DD to FD (£m) | Ofgem’s FD allowances (£m)
Electricity North West | ENWL | 7 | 27.5 | 6 | - | - | 27.5 | 2.921 | 30.421
Northern Powergrid | NPGN | 14 | 28.6 | 8 | 6 | -10.86 | 17.8 | 8.0661 | 25.8661
Northern Powergrid | NPGY | 11 | 6.2 | 6 | 5 | -3.87 | 2.3 | 1.6849 | 3.9849
National Grid Electricity Distribution | WMID | 16 | 16.5 | 5 | 11 | -11.75 | 4.8 | 1.0834 | 5.8834
National Grid Electricity Distribution | EMID | 15 | 14.4 | 1 | 14 | -12.55 | 1.9 | 1.2555 | 3.1555
National Grid Electricity Distribution | SWALES | 16 | 10.1 | 5 | 11 | -6.06 | 4 | 0.95124 | 4.9512
National Grid Electricity Distribution | SWEST | 14 | 20.4 | 4 | 10 | -12.82 | 7.6 | 2.749 | 10.349
SP Energy Networks | SPD | 13 | 37.2 | 3 | 10 | -33.52 | 3.6 | 7.2232 | 10.8232
SP Energy Networks | SPMW | 13 | 38.8 | 3 | 10 | -34.72 | 4 | 6.9395 | 10.9395
Scottish and Southern Energy | SSEH | 8 | 51 | 2 | 6 | -3.62 | 47.4 | 0.57014 | 47.9701
Scottish and Southern Energy | SSES | 3 | 5.7 | 1 | 2 | -2.6 | 3.1 | 0.97827 | 4.0783
UK Power Networks | EPN | 8 | 42.3 | 3 | 5 | -18.9 | 23.4 | 6.2487 | 29.6487
UK Power Networks | LPN | - | - | - | - | - | - | - | -
UK Power Networks | SPN | 20 | 14.4 | 5 | 15 | -9.3 | 5.1 | 2.6385 | 7.7385

## ED_HOWSUM_Section>>
The following worksheets contain the tables and figures in the Hebrides and Orkney mechanism section of the ED Annex

## TableED3_HebridesOrkneySummary
Table ED3: Summary of Hebrides and Orkney Re-opener Projects Draft and Final Determinations (£m 20/21 prices)
Sector Group | Network | Company Proposed Project | Company requested - Forecast costs (£m) | Ofgem’s DD - Cost adjustment (£m) | Ofgem’s DD -Allowances (£m) | Ofgem’s Adjustment from DD to FD (£m) | Ofgem’s FD – Allowances (£m)
Scottish and Southern Energy | SSEH | SSEN-D Pentland Firth East 3 (PFE3) | 34.67 | - | 34.67 | - | 34.67
Scottish and Southern Energy | SSEH | SSEH South Uist-Eriskay solution | 0.36 | - | 0.36 | - | 0.36
Scottish and Southern Energy | SSEH | SSEH Eriskay-Barra solution | 11.25 | -0.11 | 11.14 | - | 11.14

## ED_Arwen_Section>>
The following worksheets contain the tables and figures in the Storm Arwen mechanism section of the ED Annex

## TableED4_SARt_DDs_FDs_Summary
Table ED4: Summary of our Draft and Final Determinations
DNO | Number of proposals | Accepted number of proposals | Company requested - Forecast costs (£m) | Ofgem’s DD - Cost adjustment (£m) | Ofgem’s DD -Allowances (£m) | Ofgem’s Adjustment from DD to FD (£m) | Ofgem’s FD – Allowances (£m)
ENWL | 7 | 6 | 27.5 | 0 | 27.5 | 2.921 | 30.421
SSEN | 5 | 3 | 10.48 | 6.11 | 4.37 | 1.51 | 5.88
NPG | 26 | 12 | 34.79 | 14.73 | 20.06 | 9.79 | 29.85
SPEN | 13 | 4 | 75.9 | 68.3 | 7.6 | 14.16 | 21.76
NGED | 16 | 8 | 61.38 | 43.21 | 18.17 | 6.17 | 24.34
UKPN | 8 | 6 | 56.7 | 28.2 | 28.5 | 8.89 | 37.39

## TableED5_CAIAllowances
Table ED5: Summary of the CAI allowances for SARt
DNO | Requested funding (£m) | Final Allowance (£m)
ENWL | - | 2.8886
SSEN | 0.65 | 0.56
SPEN | 3.2 | 2.06
NGED | 5.2 | 2.33
NPg | 2.93 | 2.88
UKPN | - | 3.56
Total | 11.98 | 14.2786

## TableED6_CrossBoundary
Table ED6: Summary of the Cross-boundary interconnector final allowances for SARt
DNO | Requested funding (£m) | DD proposed funding (£m) | Final Allowance (Totex) (£m)
*ENWL | 1.6 | 1.57 | 1.74
*SSEN | 0.14 | 0.14 | 0.14
*SPEN | 4.38 | 1.14 | 4.38
*NGED | 3.3 | 2.3 | 3.3
*NPg | 0.9 | 0.89 | 0.9
Total | 10.32 | 6.04 | 10.46
* Proposal qualifies for an indirect cost uplift

## TableED7_Vegetation
Table ED7: Summary of the Vegetation management final allowances for SARt
DNO | Requested funding | DD proposed funding | Final Allowance
ENWL | 0 | 0 | 0
SSEN | 2.1 | 0 | 0
SPEN | 10.5 | 0 | 0
NGED | 6.1 | 0 | 0
Total | 18.7 | 0 | 0

## TableED8_TemporaryPower
Table ED8: Summary of the Temporary Power Sources final allowances for SARt
DNO | Proposal name | Requested funding (£m) | DD proposed funding (£m) | Final Allowance (Totex) (£m)
SPEN | Power Packs | 0.35 | 0 | 0
*SPEN | New Generation Connection Points | 3.1 | 0 | 3.1
NGED | Mobile and suitcase generation | 5.3 | 0 | 0
NPg | Making greater use of generation (excluding Step up generators) | 2.36 | 0 | 0
NPg | Step up generators | 0.33 | 0 | 0.33
*NPg | Install step-up generator platforms | 3.36 | 0 | 3.36
UKPN | Additional generators for vulnerable customers | 6.1 | 0 | 0
Total |  | 20.9 | 0 | 6.79
* Proposal qualifies for an indirect cost uplift

## TableED9_CustomerCare
Table ED9: Summary of the Customer Care and Welfare final allowances for SARt
DNO | Proposal name | Requested funding (£m) | DD proposed funding (£m) | Final Allowance (Totex) (£m)
NPg | Food and provision retainer and call out agreement | 0.67 | 0 | 0
NPg | Improved Welfare Packs | 0.54 | 0 | 0
SPEN | Increased Customer Welfare Support | 1 | 0 | 0
SPEN | Additional generators for vulnerable customers | 2.3 | 0 | 0
SPEN | Warm Customer Communication Hubs | 13.4 | 0 | 0
SPEN | Digital Switchover Support for Vulnerable Customers | 23.5 | 0 | 0
SPEN | Proactive Support - Medical Equipment Back Ups | 0.03 | 0 | 0
Total |  | 41.44 | 0 | 0

## TableED10_Communication
Table ED10: Summary of the Customer Communication final allowances for SARt
DNO | Proposal name | Requested funding (£m) | DD proposed funding (£m) | Final Allowance (Totex) (£m)
NGED | Enhancements to telephony servers | 0.41 | 0 | 0.41
SPEN | Increased Contact Centre Ramp Up | 1.9 | 0 | 0
Total |  | 2.31 | 0 | 0.41

## TableED11_ENWLSummary
Table ED11: Summary of ENWL final allowances for SARt
Proposal name | Requested funding (£m) | DD proposed funding (£m) | Final Allowance (£m)
Proposal 1: HV network strengthening predictive modelling | 0.8 | 0.8 | 0.8
*Proposal 2: Targeted HV undergrounding/strengthening | 12.6 | 12.6 | 12.6
*Proposal 3: Pennine and borders interconnection | 1.6 | 1.6 | 1.6
*Proposal 4: LV automation enhancements | 5.5 | 5.5 | 5.5
*Proposal 5: Coniston HV interconnector | 3.1 | 3.1 | 3.1
*Proposal 6: Alston HV interconnector | 3.9 | 3.9 | 3.9
Proposal 7: ETR 132 | 0 | 0 | 0
Indirect Uplift (Totex Allowance) | 0 | 0 | 2.8886
Total overall funding requested by ENWL | 27.5 | - | -
Total | 27.5 | 27.5 | 30.421
* Proposal qualifies for an indirect cost uplift

## TableED12_SSENSummary
Table ED12: Summary of SSEN final allowances for SARt
Proposal name | Requested funding (£m) | DD proposed funding (£m) | Final Allowance (£m)
*Proposal 2: HV Feeder Monitoring | 6.7 | 4.22 | 4.2211
Proposal 3: Wood Pole Assessment Tool | 0.95 | 0 | 0.95
Proposal 5: Cross DNO Interconnection | 0.14 | 0.14 | 0.14
Indirect Uplift (Totex Allowance) | 0 | 0 | 0.56
Total overall funding requested by SSEN | 10.48 | - | -
Total | 7.79 | 4.37 | 5.88
* Proposal qualifies for an indirect cost uplift

## TableED13_NPgSummary
Table ED13: Summary of NPg final allowances for SARt
Proposal name | Requested funding (£m) | DD proposed funding (£m) | Final Allowance (Totex) (£m)
Proposal 7: Step up generators | 0.33 | 0 | 0.33
Proposal 11: Improve the speed of compensation | 0.03 | 0.03 | 0.03
*Proposal 15: Convert open conductor to ABC | 1.79 | 1.79 | 1.79
*Proposal 16: Install RIFFI | 0.3 | 0.3 | 0.3
*Proposal 17: Install pole mounted RC/automation point | 1.04 | 1.04 | 1.04
*Proposal 18: Install step-up generator platform | 3.36 | 0 | 3.36
*Proposal 20: Install interconnector at 8 locations | 4.38 | 1.14 | 4.38
*Proposal 21: Replace cross arm | 0.39 | 0.39 | 0.39
*Proposal 22: Install additional poles on existing line | 3.75 | 3.75 | 3.75
*Proposal 23: Upgrade pole size | 0.32 | 0.32 | 0.32
*Proposal 24: Upsize conductor | 2.1 | 2.1 | 2.1
*Proposal 25: Underground line | 9.19 | 9.19 | 9.19
Indirect uplift (Totex Allowance) | 2.93 | 0 | 2.88
Total overall funding requested by NPg | 34.79 | - | -
Total | 29.91 | 20.06 | 29.85
* Proposal qualifies for an indirect cost uplift

## TableED14_SPENSummary
Table ED14: Summary of SPEN final allowances for SARt
Proposal name | Requested funding (£m) | DD proposed funding (£m) | Final Allowance (£m)
Proposal 1: Enhanced HV Pole Storm Resilience: | 8 | 0 | 8
*Proposal 2: Innovative OHL Smart Solutions | 4.6 | 4.6 | 4.6
*Proposal 3: Interconnection across DNOs | 3.3 | 2.3 | 3.3
Proposal 4: OHL Digital Twin Storm Modelling | 0.7 | 0.7 | 0.7
*Proposal 6: New Generation Connection Points | 3.1 | 0 | 3.1
Indirect uplift (Totex Allowance) | 3.2 | 0 | 2.06
Total overall funding requested by SPEN | 75.9 | - | -
Total | 22.9 | 7.6 | 21.76
* Proposal qualifies for an indirect cost uplift

## TableED15_NGEDSummary
Table ED15: Summary of NGED final allowances for SARt
Proposal name | Requested funding (£m) | DD proposed funding (£m) | Final Allowance (Totex) (£m)
*Proposal 1: Undergrounding HV overhead lines in wooded areas | 6.4 | 6.4 | 6.4
*Proposal 2: Replacing LV open wire overhead lines impacted by trees | 8.4 | 0 | 1.41
*Proposal 4: Application of Pre-Fix detection for fault location | 5.4 | 5.4 | 5.4
*Proposal 6: Reducing customers in a protection zone to 1000 | 12.8 | 0 | 2
*Proposal 7: Automation of spur protection | 1.8 | 1.8 | 1.8
*Proposal 8: LineSight detectors to identify nested and low conductor faults | 3.6 | 3.6 | 3.6
Proposal 12: Enhancements to telephony servers | 0.4 | 0 | 0.4
*Proposal 13: Inter-DNO interconnection | 0.94 | 0.89 | 0.94
Proposal 17: Closely associated indirects | 5.2 | 0 | 2.33
Total overall funding requested by NGED | 61.37 | - | -
Total | 44.94 | 18.17 | 24.34
* Proposal qualifies for an indirect cost uplift

## TableED16_UKPNSummary
Table ED16: Summary of UKPN final allowances for SARt
Proposal name | Requested funding (£m) | DD proposed funding (£m) | Final Allowance (Totex) (£m)
*Proposal 1: Modernisation of the overhead network | 15.5 | 15.5 | 15.5
*Proposal 3: Distribution Fault Anticipation (DFA) | 8.7 | 8.7 | 8.7
*Proposal 4: Metrysense 5000 sensors | 4.3 | 4.3 | 4.3
Proposal 5: Telecontrol Delayed Auto Reclose (TDAR) | 3 | 0 | 0.89
*Proposal 6: Auto Reclose Penetration | 3.5 | 0 | 1.6296
*Proposal 7: Overhead circuit sectionalisation enhancement | 9.4 | 0 | 2.81
Indirect Uplift (Totex Allowance) | 0 | 0 | 3.56
Total overall funding requested by UKPN | 56.7 | - | -
Total | 44.4 | 28.5 | 37.39
* Proposal qualifies for an indirect cost uplift

## TableED17_ENWL_SARt
Table ED17: Appendix - ENWL SARt summary
Proposed Activity | Requested funding (£m) | DD proposed funding (£m) | Final Allowance (£m)
Proposal 1: HV network strengthening predictive modelling | 0.8 | 0.8 | 0.8
*Proposal 2: Targeted HV undergrounding/strengthening | 12.6 | 12.6 | 12.6
*Proposal 3: Pennine and borders interconnection | 1.6 | 1.6 | 1.6
*Proposal 4: LV automation enhancements | 5.5 | 5.5 | 5.5
*Proposal 5: Coniston HV interconnector | 3.1 | 3.1 | 3.1
*Proposal 6: Alston HV interconnector | 3.9 | 3.9 | 3.9
Proposal 7: ETR 132 | 0 | 0 | 0
Indirect Scalar Uplift | 0 | Not requested at DD | 2.8886
Total overall funding requested by ENWL | 27.5 | N/A | -
Total | 27.5 | 27.5 | 30.421
* Proposal qualifies for an indirect cost uplift

## TableED18_SSEN_SARt
Table ED18: Appendix - SSEN SARt summary
Proposed Activity | Requested funding (£m) | DD proposed funding (£m) | Final Allowance (£m)
Proposal 1: Restoring OHL Resilience | 2.08 | 0 | 0
*Proposal 2: HV Feeder Monitoring | 6.7 | 4.22 | 4.22
Proposal 3: Wood Pole Assessment Tool | 0.95 | 0 | 0.95
Proposal 4: Satellite Communication System | 0.65 | 0 | 0
Proposal 5: Cross DNO Interconnection | 0.14 | 0.14 | 0.14
Indirect Uplift | 0 | 0 | 0.56
Total overall funding requested by SSEN | 10.48 | N/A | N/A
Total | 10.48 | 4.37 | 5.88
* Proposal qualifies for an indirect cost uplift

## TableED19_NPg_SARt
Table ED19: Appendix - NPg SARt summary
Proposed Activity | Requested funding (£m) | DD proposed funding (£m) | Final Allowance (£m)
Proposal 1: Invest in mobile command vehicles in RIIO-ED2 | 0.34 | 0 | 0
Proposal 2: Invest in Unmanned Arial Vehicles (UAVs) for reconnaissance and damage assessment in RIIO-ED2 | 0.39 | 0 | 0
Proposal 3, 4, 5, 6, 8, 9 & 10: Generator proposals – A mixed use of generators | 2.36 | 0 | 0
Proposal 7: Step up generators | 0.33 | 0 | 0.33
Proposal 11: Improve the speed of compensation | 0.03 | 0.03 | 0.03
Proposal 12: Establishing a new electronic payment system | 0.07 | 0 | 0
Proposal 13: Food and provision retainer and call out agreement | 0.67 | 0 | 0
Proposal 14: Improved welfare packs | 0.54 | 0 | 0
*Proposal 15: Convert open conductor to ABC | 1.79 | 1.79 | 1.79
*Proposal 16: Install RIFFI | 0.3 | 0.3 | 0.3
*Proposal 17: Install pole mounted RC/automation point | 1.04 | 1.04 | 1.04
*Proposal 18: Install step-up generator platform | 3.36 | 0 | 3.36
Proposal 19: Transformer rationalisation | 0.5 | 0 | 0
*Proposal 20: Install interconnector at 8 locations | 4.38 | 1.14 | 4.38
*Proposal 21: Replace cross arm | 0.39 | 0.39 | 0.39
*Proposal 22: Install additional poles on existing line | 3.75 | 3.75 | 3.75
*Proposal 23: Upgrade pole size | 0.32 | 0.32 | 0.32
*Proposal 24: Upsize conductor | 2.1 | 2.1 | 2.1
*Proposal 25: Underground line | 9.19 | 9.19 | 9.19
Proposal 26: Indirect Scalar | 2.93 | 0 | 2.88
Total overall funding requested by NPg | 34.79 | N/A | N/A
Total | 34.79 | 20.06 | 29.85
* Proposal qualifies for an indirect cost uplift

## TableED20_SPEN_SARt
Table ED20: Appendix - SPEN SARt summary
Proposed Activity | Requested funding (£m) | DD proposed funding (£m) | Final Allowance (£m)
Proposal 1: Enhanced HV Pole Storm Resilience: | 8 | 0 | 8
*Proposal 2: Innovative OHL Smart Solutions | 4.6 | 4.6 | 4.6
*Proposal 3: Interconnection across DNOs | 3.3 | 2.3 | 3.3
Proposal 4: OHL Digital Twin Storm Modelling | 0.7 | 0.7 | 0.7
Proposal 5: Reflecting ETR 132 Updates | 10.5 | 0 | 0
*Proposal 6: New Generation Connection Points | 3.1 | 0 | 3.1
Proposal 7: Keeping Customers Connected – Power Packs | 0.4 | 0 | 0
Proposal 8: Increased Customer Welfare Support | 1 | 0 | 0
Proposal 9: Digital Switchover Support for Vulnerable Customers | 13.4 | 0 | 0
Proposal 10: Proactive Support - Medical Equipment Back-Ups | 23.5 | 0 | 0
Proposal 11: Proactive Support - Hospital Beds | 0 | 0 | 0
Proposal 12: Warm Customer Communication Hubs | 2.3 | 0 | 0
Proposal 13: Increased Contact Centre Ramp Up | 1.9 | 0 | 0
Indirect Uplift | 3.2 | 0 | 2.06
Total overall funding requested by SPEN | 75.9 | N/A | N/A
Total | 14.9 | 7.6 | 21.76
* Proposal qualifies for an indirect cost uplift

## TableED21_NGED_SARt
Table ED21: Appendix - NGED SARt summary
Proposed Activity | Requested funding (£m) | DD proposed funding (£m) | Final Allowance (£m)
*Proposal 1: Undergrounding HV overhead lines in wooded areas | 6.4 | 6.4 | 6.4
*Proposal 2: Replacing LV open wire overhead lines impacted by trees | 8.4 | 0 | 1.41
Proposal 3: Resilience tree cutting on HV circuits | 6.06 | 0 | 0
*Proposal 4: Application of Pre-Fix detection for fault location | 5.4 | 5.4 | 5.4
Proposal 5: Torque tooling for LV fuses | 0.1 | 0 | 0
*Proposal 6: Reducing customers in a protection zone to 1000 | 12.8 | 0 | 2
*Proposal 7: Automation of spur protection | 1.8 | 1.8 | 1.8
*Proposal 8: LineSight detectors to identify nested and low conductor faults | 3.6 | 3.6 | 3.6
Proposal 9: Increased volumes of mobile generation | 5.12 | 0 | 0
Proposal 10: Using suitcase generators | 0.17 | 0 | 0
Proposal 11: Pre-emptive movement of resources | 0.32 | 0 | 0
Proposal 12: Enhancements to telephony servers | 0.4 | 0 | 0.4
*Proposal 13: Inter-DNO interconnection | 0.94 | 0.89 | 0.94
Proposal 14: Inter-NGED DNO interconnection | 0.73 | 0 | 0
Proposal 15: Inter-NGED DNO spur interconnection | 2.08 | 0 | 0
Proposal 16: Network geospatial mapping | 1.74 | 0 | 0
Proposal 17: Closely associated indirects | 5.2 | 0 | 2.33
Total overall funding requested by NGED | 61.37 | N/A | N/A
Total | 44.94 | 18.17 | 24.34
* Proposal qualifies for an indirect cost uplift

## TableED22_UKPN_SARt
Table ED22: Appendix - UKPN SARt summary
Proposed Activity | Requested funding (£m) | DD proposed funding (£m) | Final Allowance (£m)
*Proposal 1: Modernisation of the overhead network | 15.5 | 15.5 | 15.5
Proposal 2: Resilience communications | 6.1 | 0 | 0
*Proposal 3: Distribution Fault Anticipation (DFA) | 8.7 | 8.7 | 8.7
*Proposal 4: Metrysense 5000 sensors | 4.3 | 4.3 | 4.3
Proposal 5: Telecontrol Delayed Auto Reclose (TDAR) | 3 | 0 | 0.89
Proposal 6: Auto Reclose Penetration | 3.5 | 0 | 1.6296
Proposal 7: Overhead circuit sectionalisation enhancement | 9.4 | 0 | 2.81
Proposal 8: Additional generators for vulnerable customers | 6.1
Indirect Uplift | 0 | 0 | 3.65
Total overall funding requested by UKPN | 56.7 | - | -
Total | 56.7 | 28.5 | 37.39
* Proposal qualifies for an indirect cost uplift

## GD_Annex>>
The following worksheets contain the tables and figures in the GD Annex

## TableGD1_GD_Reopeners
Table GD1: GD re-opener mechanisms subject to this decision
Reopener Mechanism | Special Condition
Diversions and Loss of Development Claims Policy Re-opener | 3.2
MOB safety Re-opener | 3.21
New Large Load Connections Re-opener | 3.22

## TableGD2_DDs_FDs_Summary
Table GD2: Summary of our GD Draft and Final Determinations
Sector group | Network | Company requested - Number of Projects | Forecast costs (£m) | Ofgem’s DD- Projects Approved* | Ofgem’s DD - Projects Not Approved | Cost adjustment (£m) | Ofgem’s DD Allowances (£m) | Ofgem’s Adjustment from DD to FD (£m) | Ofgem’s FD allowances (£m)
Cadent | EoE | 34 | 58.06 | 27 | 7 | -32.38 | 25.68 | 2.99 | 28.67
Cadent | Lon | 9 | 19.63 | 7 | 2 | -15.2 | 4.43 | 2.29 | 6.72
Cadent | NW | 18 | 50.74 | 16 | 2 | -21.72 | 29.02 | 0.01 | 29.03
Cadent | WM | 8 | 19.9 | 5 | 3 | -16.49 | 3.41 | 6.02 | 9.43
Northern Gas Network | NGN | - | - | - | - | - | - | - | -
Scotia Gas Networks | Sc | 4 | 15.41 | 3 | 1 | -3.6 | 11.81 | 1.12 | 12.93
Scotia Gas Networks | So | - | - | - | - | - | - | - | -
Wales & West Utilities | WWU | 26 | 53.03 | 24 | 2 | -0.43 | 52.59 | -2.16 | 50.43

## TableGD3_Summary_Diversions
Table GD3: Summary of our Diversions and Loss of Development Claims Policy Re-opener Draft and Final Determinations
Network | Submitted costs | Ofgem’s DD allowances | Ofgem’s Adjustment from DD to FD | Ofgem’s FD allowances
Cadent | 91.49 | 49.61 | 11.31 | 60.92
SGN | 15.41 | 11.81 | 1.12 | 12.93
WWU | 42.27 | 41.84 | 0.4 | 42.24

## TableGD4_Cadent_Determinations
Table GD4: Summary of our Draft and Final Determinations for Cadent’s Diversions and Loss of Development Claims Policy Re-opener (£m, 18/19 prices)
Project | Trigger | Cadent submitted costs | Ofgem’s DD allowances | Ofgem’s Adjustment from DD to FD | Ofgem’s FD allowances
Named diversion projects | Diversion | 17.5 | 13.12 | -1.14 | 11.98
Encroached mains diversions | Diversion | 22.4 | 5.85 | 3.2 | 9.05
Encroached services | Diversion | 33.3 | 9.39* | 10.03 | 19.42
Structural removal/legal remediation | Diversion | 0.33 | 10.31 | 0 | 10.31
Completed, future and forecasted projects | Loss of development claims | 8.3 | 1.92 | 0 | 1.92
Ulverston and Butterwick projects | Environmental | 9.66 | 9.02 | -0.78 | 8.24
Total |  | 91.49 | 49.61 | 11.31 | 60.92
* Adjusted for ongoing efficiencies in line with RIIO-GD2 Final Determinations.

## TableGD5_SGN_Diversions
Table GD5: Summary of our Draft and Final Determinations for SGN’s Diversions and Loss of Development Claims Policy Re-opener (£m, 18/19 prices)
Project | Trigger | SGN submitted costs | Ofgem’s DD allowances | Ofgem’s Adjustment from DD to FD | Ofgem’s FD allowances
Cowdenhill | Diversion | 1.75 | 0 | 0 | 0
Meadowhill | Environmental | 6.7 | 6.23 | 0 | 6.23
Pitcairngreen | Environmental | 2.87 | 2.87 | 0 | 2.87
Below 7bar washouts | Environmental | 4.09 | 2.71 | 0.87 | 3.58
Moorfield | Loss of development claims | 0 | 0 | 0.25 | 0.25
Total |  | 15.41 | 11.81 | 1.12 | 12.93

## TableGD6_WWU_Diversions
Table GD6: Summary of our Draft and Final Determinations for WWU’s Diversions and Loss of Development Claims Policy Re-opener (£m, 18/19 prices)
Trigger | WWU submitted costs | WWU RIIO-GD1 reduction* | Ofgem’s DD allowances | Ofgem’s adjustment from DD to FD | Ofgem’s FD allowances
Diversion | 5.89 | -0.27 | 5.62 | 0 | 5.62
Loss of development claims | 35.79 | -1.89 | 33.47 | 0.4 | 33.87
Environmental | 2.75 | 0 | 2.75 | 0 | 2.75
Total | 44.43 | -2.16 | 41.84 | 0.4 | 42.24
*Projects which spanned RIIO-GD1 and RIIO-GD2: removal of costs that occurred in RIIO-GD1 and are therefore not within the scope of this re-opener submission.

## TableGD7_Summary_MOBs_Reopener
Table GD7: Summary of our Multi Occupancy Buildings (MOBs) Safety Re-opener Draft and Final Determinations
Cadent network | Company request | Ofgem’s DD allowances | Ofgem’s adjustment from DD to FD | Ofgem’s FD allowances
Eastern | 12.33 | 0 | 0 | 0
London | 10.77 | 0 | 0 | 0
North West | 7.29 | 0 | 0 | 0
West Midlands | 8.22 | 0 | 0 | 0
Total | 18.23 | 0 | 0 | 0

## TableGD8_SummaryNewLargeLoads
Table GD8: Summary of our New Large Load Connections Re-opener Draft and Final Determinations
Network | Company request | Ofgem’s DD allowances | Ofgem’s adjustment from DD to FD | Ofgem’s FD allowances
Cadent | 18.23 | 12.93 | 0 | 12.93
WWU | 10.75 | 10.75 | -2.56 | 8.19

## TableGD9_Cadent_NewLargeLoads
Table GD9: Summary of our Draft and Final Determinations for Cadent’s New Large Load Connections Re-opener (£m, 18/19 prices)
Cadent network | RIIO-GD2 Delivery Years | Company request | Ofgem’s DD allowances | Ofgem’s adjustment from DD to FD | Ofgem’s FD allowances
Eastern | Years 1,2 | 7.87 | 5.59 | 0 | 5.59
Eastern | Years 3,4,5 | 2.68 | 1.9 | 0 | 1.9
North West | Years 1,2 | 5.92 | 4.19 | 0 | 4.19
North West | Years 3,4,5 | 1.76 | 1.25 | 0 | 1.25
Total |  | 18.23 | 12.93 | 0 | 12.93

## TableGD10_WWU_NewLargeLoads
Table GD10: Summary of our Draft and Final Determinations for WWU’s New Large Load Connections Re-opener (£m, 18/19 prices)
| WWU submitted costs | Ofgem’s DD allowances | Ofgem’s adjustment from DD to FD | Ofgem’s FD allowances
Total | 10.75 | 10.75 | -2.56 | 8.19

## PCD>>
The following worksheets contain the tables and figures in the PCD Annex

## PCD_Overview
Price Control Deliverables (PCD)
Licence Condition | Re-opener mechanism | Network | Activity | Description of PCD | Associated allowance: Direct (£m) | Associated allowance: Indirect (£m) | Associated allowance:Total (£m) | Note on PCD delivery assessment
3.14 | Medium Sized Investment Project | NGET | Named diversions projects | 7 named projects to be completed in RIIO-ET2. | 26.52 | Set through the Opex Escalator | 26.52 | Evaluative PDC: We will assess fully or partially delivered projects in line with Ofgem's Price Control Deliverable Reporting Requirements and Methodology Document. If projects are not delivered, or have only been partially delivered, we will adjust allowances downwards so that consumers only pay the efficient costs of work that has been delivered.
3.14 | Medium Sized Investment Project | National Grid Electricity Transmission | Total |  | 26.52 | Set through the Opex Escalator | 26.52
3.14 | Medium Sized Investment Project | SPT | Named diversions projects | 2 named projects to be completed in RIIO-ET2. | 11.53 | Set through the Opex Escalator | 11.53 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.14 | Medium Sized Investment Project | SP Transmission | Total |  | 11.53 | Set through the Opex Escalator | 11.53
3.2 | Hebrides and Orkney | SSEH | No associated PCD | N/A | 46.17 | 0 | 46.17
3.2 | Hebrides and Orkney | Scottish and Southern Energy | Total |  | 46.17 | 0 | 46.17
3.17 (previously 3.2) | Storm Arwen | ENWL |  | Project 1: HV network strengthening predictive modelling | 0.79 | Included in total at 10.8% where relevant | 0.78663 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | ENWL |  | Project 2: Targeted HV undergrounding/strengthening | 12.59 | Included in total at 10.8% where relevant | 13.9454 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | ENWL |  | Project 3: Cross DNO interconnection - £1.57m for projects expected to materialise in the later years of RIIO-ED2 based on Storm Arwen | 1.57 | Included in total at 10.8% where relevant | 1.7435 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | ENWL |  | Project 4: Low Voltage (LV) automation enhancements - Installation of 750 LV reclosing facilities | 5.51 | Included in total at 10.8% where relevant | 6.1011 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | ENWL |  | Project 5: Coniston HV interconnector - Installation of a new interconnector to provide an alternative power supply from Ambleside to Coniston | 3.15 | Included in total at 10.8% where relevant | 3.4864 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | ENWL |  | Project 6: Alston HV interconnector - Installation of a new interconnector to provide a new supply from Little Salkeld to Alston | 3.93 | Included in total at 10.8% where relevant | 4.3579 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | Electricity North West | Total |  | 27.54 |  | 30.421
3.17 (previously 3.2) | Storm Arwen | NPGN |  | Project 1: Improve the speed of compensation - £0.02m for IT systems to allow quicker processing of customer compensation | 0.02 | Included in total at 10.8% where relevant | 0.01629 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGN |  | Project 2: Convert 20.14km of open conductor to Aerial Bundled Conductor (ABC) | 0.85 | Included in total at 10.8% where relevant | 0.93906 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGN |  | Project 3: Install 339 Remotely Indicating Fault Flow Indicators (RIFFI) | 0.26 | Included in total at 10.8% where relevant | 0.28797 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGN |  | Project 4: Install pole mounted remote control (RC)/automation point 57 units | 0.74 | Included in total at 10.8% where relevant | 0.82103 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGN |  | Project 5: Cross DNO interconnection - £0.57m for projects expected to materialise in the later years of RIIO-ED2 based on Storm Arwen | 3.09 | Included in total at 10.8% where relevant | 3.4215 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGN |  | Project 6: Replace 760 cross arm | 0.38 | Included in total at 10.8% where relevant | 0.42104 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGN |  | Project 7: Install an additional 728 pole on existing line | 3.64 | Included in total at 10.8% where relevant | 4.0331 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGN |  | Project 8: Upgrade pole size of 64 poles | 0.32 | Included in total at 10.8% where relevant | 0.35456 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGN |  | Project 9: Upsize conductor 26.9km | 2.1 | Included in total at 10.8% where relevant | 2.3268 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGN |  | Project 10: Underground 65km of overhead line | 8.87 | Included in total at 10.8% where relevant | 9.8272 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGN |  | Project 11: Step up generators | 0.16 | Included in total at 10.8% where relevant | 0.16 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGN |  | Project 12: Install step-up generator platform | 2.94 | Included in total at 10.8% where relevant | 3.2575 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGY |  | Project 1: Improve the speed of compensation - £0.02m for IT systems to allow quicker processing of customer compensation | 0.02 | Included in total at 10.8% where relevant | 0.01629 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGY |  | Project 2: Convert 22.5km open conductor to Aerial Bundled Conductor (ABC) | 0.95 | Included in total at 10.8% where relevant | 1.0482 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGY |  | Project 3: Install 48 Remotely Indicating Fault Flow Indicator (RIFFI) | 0.04 | Included in total at 10.8% where relevant | 0.040774 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGY |  | Project 4: Install pole mounted remote control (RC)/automation point 23 | 0.3 | Included in total at 10.8% where relevant | 0.33129 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGY |  | Project 5: Cross DNO interconnection - £0.57m for projects expected to materialise in the later years of RIIO-ED2 based on Storm Arwen | 1.3 | Included in total at 10.8% where relevant | 1.4349 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGY |  | Project 6: Replace 28 cross arm | 0.01 | Included in total at 10.8% where relevant | 0.015512 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGY |  | Project 7: Install an additional 22 poles on existing line | 0.11 | Included in total at 10.8% where relevant | 0.12188 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGY |  | Project 8: Underground 1.8km of overhead line | 0.32 | Included in total at 10.8% where relevant | 0.35072 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGY |  | Project 9: Step up generators | 0.16 | Included in total at 10.8% where relevant | 0.16 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | NPGY |  | Project 10: Install step-up generator platform | 0.42 | Included in total at 10.8% where relevant | 0.46536 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | Northern Powergrid | Total |  | 27 |  | 29.851
3.17 (previously 3.2) | Storm Arwen | SWALES |  | Project 1: Undergrounding of 12km of HV overhead lines in wooded areas | 1.55 | Included in total at 10.8% where relevant | 1.7166 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SWALES |  | Project 2: Application of Pre-Fix detection for fault location at 13 substations | 1.24 | Included in total at 10.8% where relevant | 1.372 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SWALES |  | Project 3: Automation of spur protection – Install 29 Tripsaver II devices to replace fuses on spurs that have either more than 150 customers or are longer than 10km. | 0.19 | Included in total at 10.8% where relevant | 0.2114 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SWALES |  | Project 4: Replacing LV open wire overhead lines impacted by trees | 0.2 | Included in total at 10.8% where relevant | 0.2216 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SWALES |  | Project 5: Reducing customers in a protection zone to 1000 | 0.17 | Included in total at 10.8% where relevant | 0.18836 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SWALES |  | Project 6: LineSight detectors to identify nested and low conductor faults – Install 40 units to the network | 0.59 | Included in total at 10.8% where relevant | 0.64989 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SWALES |  | Project 7: Cross DNO interconnection - £0.43m for projects expected to materialise in the later years of RIIO-ED2 based on Storm Arwen | 0.48 | Included in total at 10.8% where relevant | 0.52923 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SWALES |  | Project 8: Enhancements to telephony servers | 0.06 | Included in total at 10.8% where relevant | 0.062155 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SWEST |  | Project 1: Undergrounding of 18km of HV overhead lines in wooded areas | 2.09 | Included in total at 10.8% where relevant | 2.3212 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SWEST |  | Project 2: Application of Pre-Fix detection for fault location at 27 substations | 2.57 | Included in total at 10.8% where relevant | 2.8495 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SWEST |  | Project 3: Automation of spur protection – Install 209 Tripsaver II devices to replace fuses on spurs that have either more than 150 customers or are longer than 10km. | 1.38 | Included in total at 10.8% where relevant | 1.5235 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SWEST |  | Project 4: Replacing LV open wire overhead lines impacted by trees | 0.81 | Included in total at 10.8% where relevant | 0.89748 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SWEST |  | Project 5: Reducing customers in a protection zone to 1000 | 0.87 | Included in total at 10.8% where relevant | 0.96396 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SWEST |  | Project 6: LineSight detectors to identify nested and low conductor faults – Install 104 units to the network | 1.53 | Included in total at 10.8% where relevant | 1.6897 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SWALES |  | Project 7: Enhancements to telephony servers | 0.1 | Included in total at 10.8% where relevant | 0.10359 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | EMID |  | Project 1: Undergrounding HV overhead lines in wooded areas | 1.2 | Included in total at 10.8% where relevant | 1.3272 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | EMID |  | Project 2: Application of Pre-Fix detection for fault location | 0.38 | Included in total at 10.8% where relevant | 0.42215 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | EMID |  | Project 3: Automation of spur protection | 0.21 | Included in total at 10.8% where relevant | 0.23327 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | EMID |  | Project 4: Replacing LV open wire overhead lines impacted by trees | 0.19 | Included in total at 10.8% where relevant | 0.21052 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | EMID |  | Project 5: Reducing customers in a protection zone to 1000 | 0.7 | Included in total at 10.8% where relevant | 0.7756 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | EMID |  | Project 6: Inter-DNO interconnection | 0.06 | Included in total at 10.8% where relevant | 0.062513 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | EMID |  | Project 7: Enhancements to telephony servers | 0.12 | Included in total at 10.8% where relevant | 0.12431 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | WMID |  | Project 1: Undergrounding HV overhead lines in wooded areas | 1.54 | Included in total at 10.8% where relevant | 1.7048 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | WMID |  | Project 2: Application of Pre-Fix detection for fault location | 1.24 | Included in total at 10.8% where relevant | 1.372 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | WMID |  | Project 3: Automation of spur protection | 0.06 | Included in total at 10.8% where relevant | 0.065606 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | WMID |  | Project 4:Replacing LV open wire overhead lines impacted by trees | 0.21 | Included in total at 10.8% where relevant | 0.23268 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | WMID |  | Project 5: Reducing customers in a protection zone to 1000 | 0.22 | Included in total at 10.8% where relevant | 0.24376 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | WMID |  | Project 6: LineSight detectors to identify nested and low conductor faults | 1.53 | Included in total at 10.8% where relevant | 1.6897 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | WMID |  | Project 7: Inter-DNO interconnection | 0.41 | Included in total at 10.8% where relevant | 0.4506 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | WMID |  | Project 8: Enhancements to telephony servers | 0.12 | Included in total at 10.8% where relevant | 0.12431 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | National Grid Electricity Distribution | Total |  | 22.02 |  | 24.3392
3.17 (previously 3.2) | Storm Arwen | EPN |  | Project 1: Overhead line modernisation – Upgrade 337km of 11kV OHL network. Targeting feeders most affected in a storm but not usually seen as poor performers | 13.9 | Included in total at 10.8% where relevant | 15.4012 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | EPN |  | Project 2: Install 756 Distribution Fault Anticipation (DFA) on all HV Feeders with a composition of more than 80% OHL circuit length | 5.2 | Included in total at 10.8% where relevant | 5.7616 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | EPN |  | Project 3: Install 216 Metrysense 5000 sensors to the feeders which are not already going to be monitored by the DFA solution. | 4.3 | Included in total at 10.8% where relevant | 4.7644 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | EPN |  | Project 4: Telecontrol Delayed Auto Reclose (TDAR) | 0.47 | Included in total at 10.8% where relevant | 0.46826 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | EPN |  | Project 5: Auto Reclose Penetration | 0.77 | Included in total at 10.8% where relevant | 0.85612 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | EPN |  | Project 6: Overhead Circuit Sectionalisation Enhancement | 2.16 | Included in total at 10.8% where relevant | 2.3971 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SPN |  | Project 1: Overhead line modernisation – Upgrade 38km of 11kV OHL network. Targeting feeders most affected in a storm but not usually seen as poor performers | 1.6 | Included in total at 10.8% where relevant | 1.7728 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SPN |  | Project 2: Install 520 Distribution Fault Anticipation (DFA) on all HV Feeders with a composition of more than 80% OHL circuit length. | 3.5 | Included in total at 10.8% where relevant | 3.878 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SPN |  | Project 3: Telecontrol Delayed Auto Reclose (TDAR) | 0.42 | Included in total at 10.8% where relevant | 0.4222 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SPN |  | Project 4: Auto Reclose Penetration | 0.86 | Included in total at 10.8% where relevant | 0.94951 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SPN |  | Project 5: Overhead Circuit Sectionalisation Enhancement | 0.65 | Included in total at 10.8% where relevant | 0.71602 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | UK Power Networks | Total |  | 33.83 |  | 37.3872
3.17 (previously 3.2) | Storm Arwen | SPD |  | Project 1: Cross DNO interconnection - £1.14m for projects expected to materialise in the later years of RIIO-ED2 based on Storm Arwen | 2.1 | Included in total at 10.8% where relevant | 2.3316 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SPD |  | Project 2: OHL Digital Twin Storm Modelling | 0.37 | Included in total at 10.8% where relevant | 0.37 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SPD |  | Project 3: Innovative OHL Smart Solution | 2.12 | Included in total at 10.8% where relevant | 2.349 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SPD |  | Project 4: New Generation Connection Points | 1.92 | Included in total at 10.8% where relevant | 2.1274 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SPD |  | Project 5: Enhanced HV Pole Storm Resilience | 3.29 | Included in total at 10.8% where relevant | 3.6453 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SPMW |  | Project 1: Cross DNO interconnection - £1.16m for projects expected to materialise in the later years of RIIO-ED2 based on Storm Arwen | 1.16 | Included in total at 10.8% where relevant | 1.2845 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SPMW |  | Project 2: OHL Digital Twin Storm Modelling | 0.37 | Included in total at 10.8% where relevant | 0.37 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SPMW |  | Project 3: Innovative OHL Smart Solution | 2.5 | Included in total at 10.8% where relevant | 2.77 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SPMW |  | Project 4: New Generation Connection Points | 1.17 | Included in total at 10.8% where relevant | 1.2964 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SPMW |  | Project 5: Enhanced HV Pole Storm Resilience | 4.71 | Included in total at 10.8% where relevant | 5.2187 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SP Energy Networks | Total |  | 19.71 |  | 21.7627
3.17 (previously 3.2) | Storm Arwen | SSEH |  | Project 1: HV Feeder Monitoring – Installation of 51 HV feeder monitoring devices | 1.08 | Included in total at 10.8% where relevant | 1.1926 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SSEH |  | Project 2: Cross DNO interconnection - £0.14m for projects expected to materialise in the later years of RIIO-ED2 based on Storm Arwen | 0.14 | Included in total at 10.8% where relevant | 0.14403 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SSEH |  | Project 3: Wood Pole Assessment Tool | 0.42 | Included in total at 10.8% where relevant | 0.46348 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SSES |  | Project 1: HV Feeder Monitoring – Installation of 149 HV feeder monitoring devices | 3.14 | Included in total at 10.8% where relevant | 3.4844 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | SSES |  | Project 2: Wood Pole Assessment Tool | 0.54 | Included in total at 10.8% where relevant | 0.59389 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.17 (previously 3.2) | Storm Arwen | Scottish and Southern Energy | Total |  | 5.32 |  | 5.8784
3.2 | Diversions | Cadent | Named diversions projects | 9 named projects to be completed in RIIO-GD2. |  | Included in total | 11.98 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.2 | Diversions | Cadent | Encroached mains diversions | 461 mains diversions to be completed in RIIO-GD2 at a unit cost of £19,825/diversion. |  | Included in total | 9.05 | Mechanistic PCD: In the event of under-delivery, we will deduct the unit cost per number of incomplete diversions from the awarded allowance.
3.2 | Diversions | Cadent | Encroached services | 16,505 services to be completed in RIIO-GD2 at the following unit cost rates: • EoE £1,272, • Lon £1,486, • NW £1,259, • WM £1,259. |  | Included in total | 19.42 | Mechanistic PCD: In the event of under-delivery, we will deduct the unit cost per number of incomplete diversions from the awarded allowance.
3.2 | Diversions | Cadent | Structural removal/legal remediation | 115 projects to be completed in the last 2 years of RIIO-GD2. Cadent must demonstrate that such activities are more efficient than a pipeline diversion (as per SpC 3.20) |  | Included in total | 9.98 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.2 | Diversions | Cadent | No associated PCD | N/A |  | Included in total | 10.49
3.2 | Diversions | Cadent | Total |  | 0 | 0 | 60.92
3.2 | Diversions | SGN | No associated PCD | N/A |  | Included in total | 12.93
3.2 | Diversions | Scotia Gas Networks | Total |  | - | - | 12.93
3.2 | Diversions | WWU | Named diversions projects | 7 named projects to be completed in RIIO-GD2. |  | Included in total | 5.62 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.2 | Diversions | WWU | Loss of development claim | One claim to be paid in Q1 2025. |  | Included in total | 0.3 | Evaluative PCD: In the event of under-delivery, this will be clawed back.
3.2 | Diversions | WWU | No associated PCD | N/A |  | Included in total | 36.32
3.2 | Diversions | Wales & West Utilities | Total |  |  | 0 | 42.24
3.22 | New Large Load | Cadent | Reinforcement project costs | 18 projects to be completed in RIIO-GD2 across EoE and NW networks. |  | Included in total | 12.93 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.22 | New Large Load | Cadent | Total |  | 0 | 0 | 12.93
3.22 | New Large Load | WWU | Reinforcement project costs | 10 projects to be completed in RIIO-GD2. |  | Included in total | 8.19 | Evaluative PCD: in accordance with Price Control Deliverable Reporting Requirements and Methodology Document
3.22 | New Large Load | WWU | No associated PCD | N/A |  | Included in total | 0
3.22 | New Large Load | Wales & West Utilities | Total |  | 0 | 0 | 8.19