## Slide 1: Services Beyond the Meter- CO Gas Safety- Kane Hitchin training centre visit
Sam Graham
Technical Manager
Social Programmes
Wayne Merry Eng Tech MIGEM
Technical Specialist
Social & Vulnerability Projects

## Slide 2: Agenda
Introduction into VCMA (Vulnerability and Carbon Monoxide Allowance).
Eligibility criteria
How we spend the VCMA allowance
Customer stories
Services Beyond the Meter CO Locate to date
Atmosphere testing cooking appliances

## Slide 3: VCMA - Vulnerability and Carbon Monoxide Allowance
The Vulnerability and Carbon Monoxide (CO) Allowance (VCMA) provides use-it-or-lose-it (UIOLI) funding for GDNs to utilise on VCMA Projects focused on vulnerability and CO safety initiatives that go beyond activities that are funded through other price control mechanisms or required through licence obligations.
The allowance is set at £60m. Of that £60m, 25% is ring-fenced for collaborative VCMA Projects between Gas Distribution Networks (GDNs). The remaining 75% is split between each network based on the forecast number of GB domestic gas customers served. Cadent’s proportion is just under £30 Million including the 25% ring fenced for collaborative projects.
Chart: 

## Slide 4: VCMA - Vulnerability and Carbon Monoxide Allowance – eligibility criteria #1
In order to qualify as a VCMA Project, a project must:
It must have a positive, or a forecasted positive, Social Return on Investment (SROI).
Provide support to consumers in Vulnerable Situations and relate to energy safeguarding.
Provide awareness of the dangers of CO, and reduce the risk of harm caused by CO.
Have defined outcomes and the associated actions to achieve these.
Go beyond activities that are funded through other price control mechanism(s) or required through licence obligations; and
Not be delivered through other external funding sources directly accessed by a GDN, including through other government (national, devolved or local) funding.

## Slide 5: Eligibility criteria #2
Eligibility criteria for company specific essential gas appliance servicing, repair and replacement.
A. GDN has to isolate and condemn unsafe pipework or an essential gas appliance following a supply interruption or as part of its emergency service role;
B. The household cannot afford to service, repair or replace unsafe pipework or the essential gas appliance; and
C. Sufficient funding is not available from other sources (including national, devolved or local government funding) to fund the unsafe pipework or the essential gas appliance servicing, repair or replacement.
The above checks are carried out by our one number referral partners NEA or Groundworks we have instructed them to use mean’s tested benefits as an indicator of eligibility. This is why its vitality important our engineers always explain to the customer they might be eligible to have their appliance repaired or replaced.

## Slide 6: There is lots of projects funded through VCMA below is just an example of some:
NEA referral program
Groundworks referral program
All of our centre’s for warmth 46 in total with another 30 planned for next year.
Carbon Monoxide Summer Campaign
Safety Seymour Carbon Monoxide safe guarding for school children ages 5-9
The CO Crew Carbon Monoxide safe guarding for school children ages 9-15
Operation Repeat- Utilities against scams
Energy Efficiency Campaign
Services Beyond the Meter
For each project we have to submit a PEA (Project Eligibility Assessment). All of which can be found on our website: https://cadentgas.com/about-us/responsibility/vcma

## Slide 7
Work / Referral Type | Eligibility | Method
Energy Advice / Benefit entitlement check | Everyone is eligible for advice | Groundwork / NEA online referral form.
CO Fumes investigation / CMDDA1 | PSR / ideally private owned | Raised by any Cadent employee where we have isolated the gas supply due to a Carbon Monoxide concern.
Service / Repair / Replace of appliances or installation | Anyone who is left off gas and vulnerable post our visit. These customer’s will be assessed by Groundwork / NEA to confirm affordability. | Groundwork / NEA online referral form. SBTM – will look to claw work back we can complete, but we will wait for eligibility status from referral partner.
The below chart is to help you point vulnerable customers to the services we offer through Services Beyond the Meter & Groundworks.
To make a referral please use the online form- https://groundwork.my.salesforce-sites.com/vcmaenquiryform /
Or call 0121 2373620.

## Slide 8: Eligibility Criteria used by referral partner to confirm customer affordability. If the customer is on any of the below, they will be eligible for support.
Income-based Jobseeker’s Allowance
Employment Support Allowance
Income Support or Support for Mortgage Interest
Pension Credit
Child Tax Credit
Working Tax Credit
Housing Benefit
Council Tax Support/Council Tax Reduction/Council Tax Benefit
Social Fund (Sure Start Maternity Grant, Funeral Payment, Cold Weather Payment)
Universal Credit
I would encourage everyone to refer a customer where there is a need. It is for the NEA / Groundwork to assess the customer, they maybe entitled to one of the above but be unaware. Everyone is eligible for Energy advice and Benefit entitlement checks
Every year there is 15 Billion pounds worth of unclaimed benefits!!!

## Slide 9: Setting the scene – Customer stories #1
History - Cadent had attended this property back in 2019 for an internal smell of gas, it was soon established by our FCO that the customer had an escape on the carcass some where. We followed at the time our not processes, capped the installation issued the relevant paperwork and directed the customer to the gas safe register that was the end of our interaction.
The customer story – The customer had no heating, hot water or cooking facilities although we had left our GSOP 3 commitments (heater & hotplate) as he was on the PSR due to having 3 young children which he was incredibly grateful for. He soon realised that he couldn’t afford the running costs of these appliances and after trying to source a Gas Safe engineer he couldn’t afford these costs either.
He had no where to turn for help or support so he decided to self-reconnect after looking at videos online. He repaired what he thought was the gas escape (an old lead supply which was no longer in use). But he continued to smell gas in his kitchen over the coming days but he was to scared to call the emergency due to him being left off supply again.
His way of getting by was to keep his gas supply turned off. He would get up at 4am to heat the home and do his cooking for the day whilst having the property venting and his children still in bed (he lived like this for 3 years!!).
We attend thought our Services Beyond the Meter project located and repaired the leak as well as checking his appliances were in safe working order. I spoke to this customer and he was lost for words holding back his emotions and he said he would be forever grateful.
We attended a property in Burton, East Midlands off the back of a charity referral due to concerns with his gas installation.

## Slide 10: Setting the scene – Customer stories #2
We attended another property in East Midlands off the back of a charity referral due to issues with the gas fire.
History – We had never been to this property previously and they didn’t know they had an issue or who to call even if they did.
The customer story – The customer had been to hospital due to certain members of the family being unwell (typical Carbon Monoxide symptoms). They were checked over but not tested for CO.
The engineer walked into the property and could smell fumes straight away, the engineer got the occupant’s outside and isolated the gas supply. It was clear the gas fire was spilling CO into the property the appliance was isolated from the supply and we continued to test the boiler and hob which passed all the relevant checks.
Without us being pro active this could have been a completely different story, we could have been attending a potential fatality!!

## Slide 11: Services beyond the Meter CO Locate / Investigate – All networks
May 2021- June 2023
All Networks
993 - CO investigation jobs completed
713 - Left live and fully in use
242 - Left live and in use or a single appliance isolated
38 - Capped at meter outlet
Highlights
Average job time- 3.78 Hrs
Social return of investment - £840,078.00 - Gross
Over 2500 appliances tested for CO and confirmed safe / unsafe
In most cases the Gas Fire or Cooker are the isolated due to an unsafe installation.

## Slide 12: Room test flueless cooking appliance (cooker)
One of the big highlights of Services Beyond the Meter is the noticeable potential expose to high levels of Carbon Monoxide whilst a customer could be using their cooker as you would normally.
Whilst we complete an atmosphere test on all appliances on all occasions working beyond the requirements on BS7967. One of the noticeable things our tests show up is the large differences of CO / CO2 between having a window or door open.
Lets not forget CO2 can be just as harmful as CO and the symptoms are very similar. Due to the efficiency of modern homes there is a lot less adventisious air (free air) coming through cracks, gaps or air vents.
The attached file is a cooker room test completed in our training centre with the windows and doors closed. We will complete another test with the window open to show the difference of potential exposure.

## Slide 13: Thank you Any questions / discussion
Sam Graham
Technical Manager
Social Programmes
Wayne Merry Eng Tech MIGEM
Technical Specialist
Social & Vulnerability Projects