## Index
Index for data in tranper2000.xls
References the worksheets in this file to the graphs in the 'Report on distribution and transmission performance 1999/2000'
Sheet | data for:
A | Data for transmission systems performance (figs 16 to 24)
16 IPY | Fig 16
17 UE/INC NGC | Fig 17
18 UE/INC SCOT | Fig 18
19 UNAVAIL X3 | Fig 19
20 Annual Unav | Fig 20
21UNAVAIL - NGC | Fig 21
22 UNAVAIL - SP | Fig 22
23 UNAVAIL - HE | Fig 23
24 INTERS UA | Fig 24
Note that the graphs in the printed report were created as Lotus files.
The Excel package on which this data is held cannot exactly reproduce the formatting of these graphs in all cases.

## A
Distribution & Transmission Systems Report
Incidents per year | 91/92 | 92/93 | 93/94 | 94/95 | 95/96 | 96/97 | 97/98 | 98/99 | 99/2000 | 00/01
NGC | 9 | 9 | 8 | 8 | 5 | 14 | 14 | 5 | 4 | 3
ScottishPower | 8 | 15 | 4 | 7 | 7 | 7 | 6 | 9 | 10 | 12
Hydro-Electric | 16 | 28 | 7 | 14 | 11 | 11 | 8 | 19 | 8 | 5
Unsupplied Energy (GWhr) | 91/92 | 92/93 | 93/94 | 94/95 | 95/96 | 96/97 | 97/98 | 98/99 | 99/2000 | 00/01
NGC | 0.2 | 0.72 | 0.48 | 0.08 | 0.171 | 0.083 | 0.441 | 0.036 | 0.293 | 0.526
ScottishPower | 0.0472 | 0.1801 | 0.4987 | 0.28 | 0.047 | 0.038 | 0.018 | 0.362 | 0.275 | 0.829
Hydro-Electric | 0.12059 | 0.30999 | 0.071 | 0.159 | 0.093 | 0.094 | 0.155 | 0.461 | 0.019 | 0.049
Unsupplied Energy (MWh) per Incident | 91/92: #VALUE!
| 91/92 | 92/93 | 93/94 | 94/95 | 95/96 | 96/97 | 97/98 | 98/99 | 99/2000 | 00/01 |  | avg | min
NGC | 22.2222 | 80 | 60 | 10 | 34.2 | 5.9286 | 31.5 | 7.2 | 73.25 | 175.3333 |  | 49.9634 | 5.9286
ScottishPower | 5.9 | 12.0067 | 124.675 | 40 | 6.7143 | 5.4286 | 3 | 40.2222 | 27.5 | 69.0833 |  | 33.453 | 3
Hydro-Electric | 7.5369 | 11.0711 | 10.1429 | 11.3571 | 8.4545 | 8.5455 | 19.375 | 24.2632 | 2.375 | 9.8 |  | 11.2921 | 2.375
Unsup. Energy (MWh) per Incident – Scotland
Transmission System Availabilities | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar
NGC | 95.56% | 94.86% | 94.58% | 93.1% | 93.47% | 93.33% | 93.64% | 97.09% | 98.75% | 98.94% | 98.58% | 97.48%
ScottishPower | 98.15% | 97.33% | 96.39% | 95.95% | 94.4% | 94.85% | 94.22% | 95.45% | 97.6% | 97.18% | 97% | 95.1%
Hydro-Electric | 97.18% | 96.3% | 96.51% | 98.04% | 96.8% | 96.74% | 98.06% | 99.22% | 99.64% | 99.79% | 99.42% | 99.82%
Transmission System Unavailabilities | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar
NGC planned | 4.27% | 4.94% | 6.55% | 6.55% | 6.19% | 6.43% | 6.03% | 2.51% | 1.07% | 82% | 1.2% | 2.23%
NGC unplanned | 0.17% | 0.2% | 0.17% | 0.35% | 0.35% | 0.24% | 0.33% | 0.4% | 0.18% | 0.25% | 0.22% | 0.29%
SP planned | 1.81% | 2.44% | 3.37% | 3.68% | 5.23% | 4.63% | 5.39% | 3.6% | 1.95% | 1.79% | 2.53% | 4.1%
SP unplanned | 0.04% | 0.23% | 0.24% | 0.37% | 0.37% | 0.52% | 0.39% | 0.95% | 0.45% | 1.03% | 0.47% | 0.8%
HE planned | 2.81% | 3.65% | 2.7% | 1.74% | 3.16% | 3.12% | 1.91% | 0.74% | 0.34% | 0.05% | 0.54% | 0.12%
HE unplanned | 0.01% | 0.05% | 0.01% | 0.22% | 0.05% | 0.14% | 0.03% | 0.04% | 0.02% | 0.17% | 0.04% | 0.07%
10 Transmission System Unavailabilities | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar
NGC | 4.44% | 5.14% | 5.42% | 6.9% | 6.54% | 6.67% | 6.36% | 2.91% | 1.25% | 1.07% | 1.42% | 2.52%
ScottishPower | 0.0185 | 0.0267 | 0.0361 | 0.0405 | 0.056 | 0.0515 | 0.0578 | 0.0455 | 0.024 | 0.0282 | 0.03 | 0.049
Hydro-Electric | 0.0282 | 0.037 | 0.0271 | 0.0196 | 0.0321 | 0.0326 | 0.0194 | 0.0078 | 0.0036 | 0.0022 | 0.0058 | 0.0019
Interconnector availabilities | 91/92 | 92/93 | 93/94 | 94/95 | 95/96 | 96/97 | 97/98 | 98/99 | 99/2000 | 00/01
NGC - FRANCE | 96.3% | 96.9% | 96.6% | 97.7% | 97.98% | 97.32% | 97.92% | 97.35% | 95.6% | 96.2%
NGC - SCOTLAND | 87.6% | 89.4% | 86.2% | 98.6% | 99.48% | 97.33% | 95.35% | 98.3% | 99.9% | 99.7%
SP - HE | 95.15% | 91.97% | 93.2% | 94.02% | 91.34% | 92.05% | 97.9% | 97.13% | 95.48% | 93.27%
Interconnector Unavailability | 91/92 | 92/93 | 93/94 | 94/95 | 95/96 | 96/97 | 97/98 | 98/99 | 99/2000 | 00/01
NGC - FRANCE | 3.7% | 3.1% | 3.4% | 2.3% | 2.02% | 2.68% | 2.08% | 2.65% | 4.4% | 3.8%
NGC - SCOTLAND | 12.4% | 10.6% | 13.8% | 1.4% | 0.52% | 2.67% | 4.65% | 1.7% | 0.1% | 0.3%
SP - HE | 4.85% | 8.03% | 6.8% | 5.98% | 8.66% | 7.95% | 2.1% | 2.87% | 4.52% | 6.73%
THESE CELLS ARE USED AS GRAPH TITLES
INCIDENTS PER YEAR | 91/92: number of incidents
Unsupplied Energy (MWh) per Incident - NGC | 91/92: MWh Unsupplied
Unsupplied Energy (MWh) per Incident - Scotland
Transmission System Unavailability | 91/92: percentage unavailable
Interconnector Unavailability
| April | May | June | July | August | September | October | November | December | January | February | March | 2000/01 total
NGC Planned - Maintenance | 1.61% | 1.71% | 1.69% | 1.42% | 1.71% | 1.85% | 1.71% | 0.46% | 0.24% | 0.09% | 0.55% | 0.84% | 1.157%
NGC Planned - System Construction | 2.45% | 3.14% | 3.13% | 4.23% | 3.78% | 3.47% | 3.18% | 1.58% | 0.43% | 0.37% | 0.29% | 1.01% | 2.255%
NGC Planned - User Connection | 0.21% | 0.09% | 0.43% | 0.9% | 0.7% | 1.11% | 1.14% | 0.47% | 0.4% | 0.36% | 0.36% | 0.38% | 0.5458%
NGC Unplanned (Faults) | 0.17% | 0.2% | 0.17% | 0.35% | 0.35% | 0.24% | 0.33% | 0.4% | 0.18% | 0.25% | 0.22% | 0.29% | 0.2625% | 4.22%
NGC Total Unavailability | 4.44% | 5.14% | 5.42% | 6.9% | 6.54% | 6.67% | 6.36% | 2.91% | 1.25% | 1.07% | 1.42% | 2.52% | 4.22% | Annual total unavailability - NGC
SP Planned - Maintenance | 1.25% | 1.35% | 1.84% | 1.36% | 1.56% | 1.75% | 1.66% | 0.82% | 0.3% | 0.88% | 1.31% | 1.19% | 1.272%
SP Planned - System Construction | 0.56% | 1.09% | 1.53% | 2.32% | 3.67% | 2.88% | 3.73% | 2.78% | 1.65% | 0.91% | 1.22% | 2.91% | 2.104%
SP Planned - User Connection | [12 empty] | 0% | bar: April to March
SP Unplanned (Faults) | 0.04% | 0.23% | 0.24% | 0.37% | 0.37% | 0.52% | 0.39% | 0.95% | 0.45% | 1.03% | 0.47% | 0.8% | 0.4883% | 3.865%
SP Total Unavailability | 1.85% | 2.67% | 3.61% | 4.05% | 5.6% | 5.15% | 5.78% | 4.55% | 2.4% | 2.82% | 3% | 4.9% | 3.865% | Annual total unavailability - ScottishPower
HE Planned - Maintenance | 0.73% | 0.93% | 1.62% | 1.16% | 1.13% | 1.47% | 0.89% | 0.4% | 0.09% | 0.05% | 0.33% | 0.11% | 0.7425%
HE Planned - System Construction | 2.08% | 2.72% | 1.08% | 0.58% | 2.03% | 1.65% | 1.02% | 0.34% | 0.25% | 0% | 0.21% | 0.01% | 0.9975%
HE Planned - User Connection | [12 empty] | 0% | bar: April to March
HE Unplanned (Faults) | 0.01% | 0.05% | 0.01% | 0.22% | 0.05% | 0.14% | 0.03% | 0.04% | 0.02% | 0.17% | 0.04% | 0.07% | 0.07083% | 1.811%
HE Total Unavailability | 2.82% | 3.7% | 2.71% | 1.96% | 3.21% | 3.26% | 1.94% | 0.78% | 0.36% | 0.22% | 0.58% | 0.19% | 1.811% | Annual total unavailability - Hydro-Electric
THESE CELLS ARE USED AS GRAPH TITLES (FIGS 21 - 23)
percentage unavailable
Transmission System Unavailability
Reason for Unavailability - ScottishPower
Reason for Unavailability - Hydro-Electric
Reason for Unavailability - NGC
NOTE: legend to be inverted
NOTE: Increase gap between 1998/99 bar and March
Planned - Maintenance
Planned - System Construction
Planned - User Connection
Unplanned - Faults
Annual Unavailability | 1991/92 | 1992/93 | 1993/94 | 1994/95 | 1995/96 | 1996/97 | 1997/98 | 1998/99 | 1999/2000 | 2000/01
NGC | 9% | 7% | 5.8% | 4.9% | 4.1% | 4.17% | 3.689% | 3.66% | 4% | 4.22%
ScottishPower | 3.4% | 3.5% | 2.2% | 2.3% | 2.9% | 2.4% | 3.2% | 3.77% | 3% | 3.87%
Hydro-Electric | 2.4% | 3.4% | 2.9% | 2.2% | 3.2% | 2.64% | 2.47% | 2.7% | 2.98% | 1.81%