1 August 2006

Adoption group

First paper

Introduction

This paper sets out the rationale for and requirements of developers with respect to the “adoption issue” and also provides a Transmission Owners (TO) perspective on the issue.  This paper follows a meeting of the Adoption group (the group) on 26th July 2006 and is supported by all those at the meeting.

Whilst this paper does not seek to differentiate between whether the offshore transmission would be connected to onshore transmission or distribution, it is recognised that there may be additional considerations or complexity in the latter case.

Importance of adoption issue

The group wanted as a whole to express the seriousness and importance of the adoption issue and the consequences of not addressing it adequately.

The government has set a target of 10.4% of electricity coming from renewable sources in the year 2010/11.  In order to meet this target at least one or more of the second round offshore wind farms in the UK will need to be operational by 2010.  The economics of offshore wind are still considered by the majority of developers to be marginal under the current renewable support mechanism and with the current offshore transmission regulatory regime.  One of the main stated reasons behind the decision to extend the regulatory arrangements that cover onshore transmission to also cover offshore transmission is the benefit that this would bring in reducing initial costs to offshore wind farms and thereby in enabling offshore wind farms to be developed and constructed in order to contribute towards meeting Government targets.

However, the extension of the regulatory regime offshore has introduced uncertainty at a time when early developers will shortly be seeking to finance their projects.  The main areas of uncertainty are:

- Will the offshore transmission be adoptable?

- If so will the developer and its investors recover all the costs it incurs if they are adopted and to what level of charges will the offshore wind farms be exposed?

- What will happen if the assets are not adopted by a third-party TO?

This uncertainty gives rise to fundamental issues to investors in these projects which if not resolved are likely to delay the construction of early round 2 projects.  Debt investors in particular seek to adopt a very low risk approach to their investment as they earn only a small return over the risk-free rate.  Their approach to these issues and the uncertainty they give rise to will be either to require more equity to be invested in a project, thereby diluting the return on equity and making is less likely to proceed, or to refuse to lend at all.  Equity investors may accept more risk, but even so only up to a limit.

For example:

- A project will not proceed if there exists a risk that the transmission of electricity offshore becomes a prohibited activity without a licence, and no licenced TO is forthcoming to adopt the offshore transmission assets of the project, nor is an exemption to the requirement to have a licence granted;

- It will only be possible to get low levels of debt, if any, into the offshore transmission element of a project if there is uncertainty regarding the level of costs recoverable on adoption, or indeed whether adoption will occur at all;

- Higher levels of debt will not be achievable if there is no cap on the expected level of transmission charges payable.

These are issues that will have a serious impact on the financing of projects, and will cause delay to projects proceeding to construction unless they are resolved before the end of 2006.

Exemption

Many, if not all, of the risks associated with the enduring regime, could be mitigated by giving legally binding comfort to early developers that if they so desired, they would receive an exemption from the requirement to have a licence for the transmission of electricity from the offshore wind farm. There is at least one project already built that has an offshore 132kv line, and so will be affected by the new arrangements, therefore this aspect will have to be addressed whatever happens to other projects.

Developers would still be incentivised to ‘opt in’ to the enduring regime by the expected cost reduction, and which as noted before is one of the main stated aims of the enduring regime.  Indeed it is important that developers would have the right to opt in, so as not to be disadvantaged by being amongst the first to construct.

It may be that OFGEM alone cannot give the assurance of an exemption, as it does not yet know the precise form of the legislation prohibiting transmission of electricity offshore without a licence, and therefore whether it will have the power to grant an exemption to the requirement to have a licence, and therefore this course of action may also require legally binding comfort from the Secretary of State.

In the event that this blanket assurance cannot be given, then more detailed legally binding comfort would be required as below.

Issues that should be advanced to provide further clarity

The group has highlighted certain areas that if progressed urgently would provide greater clarity as to the acceptable design of offshore transmission assets to be subsequently adopted:

- SQSS – the group acknowledges that this is being progressed rapidly

- Ownership boundary – in particular whether offshore substation foundations will be owned by TOs (and therefore the adopted design of which would be subject to an efficiency test) or by generators

- Design life

- Point of Grid Code compliance – developers assume that applying the current Grid Code requirements at the point of onshore connection is satisfactory

- Overhead v underground and the trade-off between the need to construct renewable generation quickly versus the extra costs of underground cables

- Non-electrical technical requirements (e.g. cable burial specifications, foundation design requirements, health & safety requirements)

The group recognised that it was unlikely that all of these issues would be resolved prior to the first projects reaching investment decision and therefore that a process would be required to give comfort on designs in the absence of full standards and specifications being available.  This process should allow for permanent derogations to enduring standards when the design has been fixed prior to those standards being established.

Issues that require further certainty or comfort if certainty of exemption cannot be given

These fall into four categories:

- Process for the adoption of assets by a subsequently appointed licensed TO

It is not in the interests of any party, from either an economic or an environmental perspective, for inefficient expenditure on offshore transmission assets to take place. It is therefore incumbent on all parties, as far as is reasonably possible, to ensure that this is avoided.

However, in order for any investment to take place, it is necessary for developers and TOs to have a degree of certainty around what is likely to be considered by OFGEM as efficient. Increased certainty could be provided if there were some mechanism that allowed OFGEM, supported by technical consultants as necessary, to make an economic and technical assessment of high level designs and forecasts costs in advance of investment actually taking place. In many cases this assessment will need to be made in advance of the development of the price control framework in order to avoid unnecessary and lengthy delays to construction. Such an assessment would form an important part of any adoption process.

There is precedent for such an assessment within the current framework for onshore transmission. In developing its TIRG proposals (Transmission Investment for Renewable Generation) OFGEM and its consultants SKM carried out an economic and technical assessment of a number of potential transmission upgrades. The final proposals clearly categorised some projects as efficient and provided a mechanism under which, subject to future efficiency tests and delivery of agreed outputs, these projects would be funded.

The main characteristics of the TIRG mechanism are summarised as follows:

- ‘baseline’ costs agreed in advance following economic/technical assessment by OFGEM and its consultants;

- comprehensive cost reporting regime during pre-construction and construction phases of the project;

- provision for movements in costs (increase or decrease) during pre-construction and construction phases to be assessed and for cost baseline to be amended;

- incentives for TOs to minimise actual investment; and

- RAV to be determined based on actual costs determined by the Authority to be efficiently incurred.

The size of the investment on offshore transmission assets that will be required to facilitate many of the offshore wind farms is comparable with the TIRG investments.  As such it would appear entirely appropriate that this established onshore precedent be extended to offshore.

The process outlined above is similar to that suggested by BWEA in its paper entitled “Adoption of transmission assets”.  The additional points that the group wished to add were:

- There was scope for early designs to be not suitable for adoption by prospective third-party TOs and that this situation needed to be covered

- As outlined above the ownership boundary needs to be defined

- Developers would require comfort that all efficiently incurred costs incurred in establishing the offshore transmission assets would be recoverable including:

      - Development costs (inc. seabed survey costs)

      - Real Estate costs

      - Construction costs

      - Financing costs

  - Developers would require comfort that as well as all rights in relation to the offshore transmission assets being adopted, all liabilities would also be adopted

- The mechanism for transferring statutory consents to a subsequently appointed licensed TO

Consents where they do not reside with the asset may in some cases need to be reapplied for by new TO, (an example of this is the licence required under section 5 of the Food and Environment Protection Act 1985).  The inability of a new TO to obtain the consent may result in a third party TO not being appointed.  However, it was noted that these consents are largely in the control of DTI or DEFRA and who were therefore in a position to give comfort on this issue.

- Clarification of the legal position in the eventuality that there is no subsequently appointed third-party licensed TO

Whilst developers recognise that it is unlikely that there would not be a third-party TO forthcoming to adopt assets, it clearly is a possibility due inter alia to:

- Detailed design not being acceptable to prospective TOs

- Consents not being obtainable by prospective TOs

- Commercial risk/reward balance not being acceptable to prospective TOs

Given the likelihood that the transmission of electricity from offshore wind farms to shore will become a prohibited activity without a licence, investors in offshore wind farms will not accept the risk of a situation occurring whereby no third-party TO is forthcoming, if there is not absolute certainty that in this circumstance either:

- An exemption would be granted to the offshore wind farm; or

- The developer would receive a TO licence

The group discussed a third option of a “TO of last resort” which had to accept the role if no other third-party TO was forthcoming but it was thought unlikely that any party would accept this role.

Most developers in this circumstance would prefer to have an exemption.

However, as stated above it maybe that OFGEM alone cannot give this assurance.  To cover this situation developers would require legally binding comfort from OFGEM that in the event that an exemption was not possible, an offshore transmission licence would be granted to the developer on a project specific basis and that its price control would allow it to recover all its efficiently incurred costs over a 20 year period (forecast life of the offshore wind farm).

- Clarification of the maximum transmission charges likely to be levied on an offshore wind farm owner following adoption of assets by a licensed TO

As noted earlier a main stated benefit of the regulated regime is that the initial costs to be borne by offshore wind farm developers would be reduced as a result of the regime.  Some certainty in this area is required if early developers are not to have to cater for large variations in possible connection and use of system charges, and therefore not to be actually disadvantaged by one of the aspects of the regime that is meant to promote the early deployment of offshore wind farms.  Therefore developers would require legally binding comfort from OFGEM that the connection and use of system charges that they would pay under the enduring regime would be no more than the equivalent costs under the existing regime.

Process for obtaining the necessary comfort

The group considers that there are two possible routes to give sufficient certainty to early developers to allow them to proceed without delay:

    - the Secretary of State and/or OFGEM give a legally binding comfort in a letter that early developers will have the option of an exemption (with the right to opt into enduring arrangements); or

    - OFGEM gives a legally binding comfort in a letter setting out, as outlined in this paper:

- The process for agreeing design and costs prior to commitment, and dealing with any variations during construction

- How the situation of no third-party TO coming forth is dealt with

- Certainty on the maximum level of costs to be charged to offshore wind farms for transmission.

Given the timescales, the group recommends that these options, together with draft comfort letters, are set out in the October consultation document.

The Transmission Owners’ perspective

A fundamental point from the TO perspective is that the regulatory framework adequately funds whatever is adopted in terms of the initial and ongoing costs, including potential liabilities around decommissioning.  Other concerns relate to the following issues:

- the extent to which the adopted assets enable the TO to comply with its licence obligations and associated codes (Grid Code, STC etc.);

- compliance with conditions of planning consent and robust landowner agreements, leases, wayleaves etc.;

- the ability to operate assets/network in safe manner consistent with appropriate legislation and accepted industry safety procedures and rules; and

- equipment fit for purpose, installed to specification/manufacturers instructions  with appropriate warranties and servicing agreements in place.

A clear process for adoption is considered to be in the interest of all parties including potential TOs. Accordingly the existing TOs are fully supportive of the need for a process to be established and documented as soon as possible.

Adoption must be by agreement. It will not be acceptable for the process to place an obligation on a TO to adopt assets where the costs and potential liabilities are not adequately funded.  The possibility therefore exists where no TO will be willing to adopt a set of assets.  However it is considered that early clarity around the adoption process can minimise this as a possibility.  It must also be emphasised that there may be circumstances where additional expenditure is required on offshore transmission assets to ensure that a TO is prepared to adopt and operate them over their lifetime.  If the TO is required to make this expenditure then this must be fully recoverable under the price control and  regulatory framework.

Timescales

The group proposed that the timescales for resolution of this process should include:

Oct ’06:	treatment of this issue in the October consultation document as outlined above;

Dec ’06:	issue comfort letters to those developers that require it to enable their investment processes to proceed.

The group considers that given the importance of this issue in allowing early round 2 projects to proceed and to contribute to the 2010 renewables target, that the OTEG process should formally recognise the steps being taken to address this issue in its timetable.

<Ends>

These included five developer representatives, two TO representatives and a manufacturer representative